| TEST | REFERENCE VALUES/INTERPRETATION (ADULT) | Testing Site | SPECIMEN COLLECTION | HANDLING INSTRUCTIONS | SPECIMEN TRANSPORT | TEST SCHEDULE | METHOD CODE |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 14-3-3 (CJD) | Negative | SO | 1 ml CSF | Refrigerate, then frozen upon receipt in Lab | Cooler | Referral | R |
| ABSCESS CULTURE | Pathogens will be identified according to specimen source. | IH | Drainage, aspirate or deep swab of area. Specify source on specimen. | Refrigerate | Cooler | Daily | 13 |
| ACETAMINOPHEN | Therapeutic: 10.0-30.0 UG/ML Toxic: Greater than 150 UG/ML at 4 hours after ingestion or half-life of greater than 4 hours. For information only – not part of reference range | IH | 7 ml blood (gold or red top tube) | Refrigerate Send ASAP to lab Storage after separation Send ASAP to lab Room temp-8hrs Refrig up to 24 hrs (2-8°) Rejection Criteria Reject gross hemolysis | Cooler | Daily | 60 |
| ACETONE | See Beta-Hydroxy Butyrate |  |  |  |  |  |  |
| ACETYLCHOLINESTERASE | See Report | SO | 5 ml amniotic fluid | Refrigerate Complete reference lab requisition. | Cooler | Referral | R |
| ACETYLCHOLINE RECEPTOR ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| ACETYLCHOLINE RECEPTOR BLOCKING ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| ACETYLCHOLINE RECEPTOR MODULATING ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| ACID PHOSPHATASE, PROSTATIC TOTAL | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| ACTH, ADRENOCORTICOTRO- PHIC HORMONE | See Report | SO | 5 ml blood (lavender top tube) | Transport to lab within 30 min. of specimen collection. | Cooler | Referral | R |
| ACTINOMYCES CULTURE | Negative. Care must be taken in collecting specimens to avoid contamination by colonizing flora. Sterile fluids and aspirates: Collect >1 cc pus or fluid in syringe, remove needle and expel all air bubbles or place in a sterile container. Tissue: Piece submitted in a sterile container. Must be received in lab within 2 hours. Swab: Must use a dedicated anaerobic swab. Note: Swab collection is strongly discouraged. | IH | Deep wounds, sterile fluids, aspirates and tissues must be kept at room temperature and received in lab within 2 hours. | Room temp. | Room temp. | Daily | 13 |
| ACTIVATED PROTEIN C –RESISTANCE (APCR) | See Report | SO | 5 ml blood (blue top tube). | Refrigerate. Transport to laboratory within 4 hours of collection. Patient cannot be taking heparin. | Cooler | Referral | R |
| ADENOVIRUS CULTURE | See virus isolation | SO | Special viral transport kit required. Eye, throat, nose or rectal swabs. Sputum or Bronchial washing. | Patient history must accompany specimen. Refrigerate | Cooler | Referral | R |
| ADENOVIRUS ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| ADRENAL ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| ADULTERANT, CREATININE (URINE) | >19.9 MG/DL | IH | SEE DRUG SCREEN | Refrigerate | Cooler | Daily | 68 |
| ADULTERANT, SPECIFIC GRAVITY (URINE) | 1.003 – 1.020 | IH | SEE DRUG SCREEN | Refrigerate | Cooler | Daily | 8 |
| ADULTERANT, pH (URINE) | 4.5 – 8.9 | IH | SEE DRUG SCREEN | Refrigerate | Cooler | Daily | 8 |
| ALANINE AMINOTRANSFERASE (ALT, SGPT) | 12-78 IU/L | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml/blood. | Refrigerate Storage after separation Room temp-8hrs Refrig up to 72 hrs (2-8°) Freeze (-20 °) -6 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 21 |
| ALBUMIN | 3.4-5.0 G/DL | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp-8hrs Refrig up to 72 hrs (2-8°) Freeze (-20 °) -6 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 8 |
| ALBUMIN, URINE PANEL (MICROALBUMIN) | SEE MICROALBUMIN |  |  |  |  |  |  |
| ALCOHOL SCREEN | Ethanol Normal: None Detected Impaired: Above 50 MG/DL Intoxicated: Above 100 MG/DL Stuporous to comatose: Above 300 MG/DL Isopropanol Normal: None detected Methanol Normal: None detected | SO | 2 red top tubes. (DO NOT OPEN TUBES). Cannot be used for other tests. Do not use alcohol based disinfectant for patient phlebotomy PREP. Osmolality required first and needs to be ordered in a separate tube. Test to be sent to Albany Medical Center Hospital. | Do not open tube. Refrigerate. Should be ordered only if ingestion of non-beverage alcohol is strongly suspected. | Cooler | Referral | R |
| ALDOLASE, SERUM | See Report | SO | 7 ml blood (gold or red top tube) Collect and place immediately on Cooler. | Refrigerate | Cooler | Referral | R |
| ALDOSTERONE | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| ALDOSTERONE, URINE | See Report | SO | 24 hour urine. Refrigerate during collection. Collect in Boric Acid Bottle. Obtain from Chem. Lab (525-1465) Note: Sodium and Creatinine can also be run if ordered. | Refrigerate. Record collection period (hours) on requisition. | Cooler | Referral | R |
| ALKALINE PHOSPHATASE | Female Ref. Range U/L Age 4-15 54-369 16-49 42-98 50- 53-141 Male Ref. Range U/L Age 4-19 54-369 20-49 53-128 50- 56-119 | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp-8hrs Refrig up to 72 hrs (2-8°) Freeze (-20 °) -6 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 21 |
| ALKALINE PHOSPHATASE ISOENZYMES | See Report. | SO | 7 ml blood (red or gold top tube) Overnight fasting preferred. | Refrigerate | Cooler | Referral | R |
| ALLERGY | See Report | IH | 14 ml blood (red top tube) for 20 allergens. (Two full tubes required.) | Refrigerate | Cooler | Tue, Th | 57 |
| ALPHA 1 ANTITRYPSIN | 90-200 MG/DL | IH | 7 ml blood (gold or red top tube) EDTA plasma- lavender tube | Refrigerate Storage after separation Room temp-8hrs Refrig up to 7 days (2-8°) Freeze (-20°) -3 months if frozen within 25 hrs of collection avoid freeze/thaw Rejection Criteria Reject gross hemolysis | Cooler | Daily | 42 |
| ALPHA 2 MACROGLOBULIN | See Report | SO | 7 ml blood (red or gold top tube) Overnight fasting preferred. | Refrigerate | Cooler | Referral | R |
| ALPHA FETO PROTEIN, PRENATAL SCREEN (SEE MATERNAL SERUM SCREEN 1) | See Report | SO | 7 ml blood (gold or red top tube) History form required. | Refrigerate | Room temp. | Referral | R |
| ALPHA FETO PROTEIN, AMNIOTIC FLUID | See Report | SO | 10 ml amniotic fluid. History form required. | Room temp. Complete reference lab requisition. | Room temp. | Referral | R |
| ALPHA FETO PROTEIN, TUMOR MARKER | <8.1 NG/ML Test performed by DIMENSION VISTA AFP assay via a homogeneous, sandwich chemiluminescent immunoassay based on LOCI technology. Results obtained from other manufacturers' methods may not be used interchangeable. Elevated levels of AFP cannot be interpreted as absolute evidence of new or recurrent malignancy. AFP by this method is meant as a tumor marker only and is not interpretable in pregnant females. Falsely decreased AFP results may occur on samples from patients taking Biotin. | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8hrs Refrig up to 2 days (2-8°) Freeze (-20°) -after 48 hr avoid freeze/thaw Rejection Criteria Reject gross hemolysis | Cooler | M-F | 57 |
| ALPHA SUBUNIT | See Report | SO | 7 ml blood (red or gold top tube only) | Refrigerate | Cooler | Referral | R |
| AMIKACIN LEVEL | See Report | SO | 7 ml blood (red top tube only). | Refrigerate | Cooler | Referral | R |
| AMINO ACIDS, PLASMA | See Report | SO | 5 ml blood (green top tube) | Refrigerate | Cooler | Referral | R |
| AMIODARONE | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| AMOEBIC ANTIBODY (ENTAMOEBA HISTOLYTICA) | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| AMITRIPTYLINE (ELAVIL) | See Report | SO | 7 ml blood (red top tube) | Room temp. | Room temp. | Referral | R |
| AMMONIA | <32 UMOL/L | SO | 2 ml blood (dark green top tube). Collect and place immediately on Ice. | Not stable. Deliver to lab ASAP On ice or not on ice </= 60 min On ice or not on ice >60 min but <90 mon-tue >90 min-cancel Rejection Criteria Reject gross hemolysis. | On ice/cooler | Daily | 21 |
| AMYLASE, FLUID | No normal range | IH | 0.5 ml fluid | Refrigerate | Cooler | Daily | 21 |
| AMYLASE, SERUM//URINE | 25-115 U/L-serum 59-401U/24 hrs | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood Urine -10 ml from a 24 hour urine collection (no preservative) | Refrigerate Storage after separation Room temp-7days Refrig (2-8°) 6 months | Cooler | Daily | 21 |
| ANAEROBE CULTURE | Anaerobes are normal flora but they may occasionally be considered pathogens. Care must be taken in collecting specimens to avoid contamination by colonizing flora. Sterile fluids and aspirates: Collect >1cc pus or fluid in syringe, remove needle, and expel all air bubbles. Tissue: Piece submitted in sterile container, must be received by lab within 2 hours. | IH | Deep Wounds, Sterile Fluids & Aspirates: maintain transport media at Room temperature. Tissue: Store at Room temperature. | Room temp. Room temp. | Room temp. Room temp. | Daily | 13 |
| ANAPLASMA BY PCR | See Report | SO | 4 ml blood (lavender top tube) | Refrigerate | Cooler | Referral | R |
| ANAPLASMA SMEAR | Negative, no bacteria observed | IH | 4 ml blood (lavender top tube) | Room temp. | Cooler | Daily | 41 |
| ANCA (includes myeloperoxidase Ab & proteinase-3 Ab | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| ANGIOTENSIN CONVERTING ENZYME (ACE) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| ANION GAP | Ref Range 3-11 | IH | 7 ml blood (gold or red top tube) Pediatrics: 0.5ml blood. | Refrigerate Storage after separation Room temp- 8 hrs Refrig up to 3 days (2-8°) Rejection Criteria Reject gross hemolysis | Cooler | Daily | 5 |
| ANTIBODY IDENTIFICATION | See Report | IH | Two 6 ml (pink top tubes) | Store at room temperature. Refrigerate if held overnight. | Cooler | Daily | 29 |
| ANTIBODY TITER | Negative | IH | 6 ml (pink top tube) | Store at room temperature. Refrigerate if held overnight. | Cooler | Weekly | 29 |
| ANTIBODY SCREEN | Negative. (If result is positive, antibody identification will automatically be performed.) | IH | 6 ml (pink top tube) | Store at room temperature. Refrigerate if held overnight. | Cooler | Daily | 29 |
| ANTI-NUCLEAR ANTIBODY (ANA) | Negative. If positive or equivocal, titer automatically added. | IH | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | 3/week | 17 |
| ANTIPHOSPHOLIPID AB PANEL | Includes Beta-2-Glycoprotein, Phosphatidylserine Ab, Cardiolipin AB | SO | 7 ml blood (gold top tube)– draw 3 tubes. | Refrigerate | Cooler | Referral | R |
| ANTI-THROMBIN III | 78-122% activity | IH | 2.7 ml blood (light blue top tube) | Transport to laboratory within 4 hours of collection. | Cooler | Weekly. | 7 |
| ANTI Xa ASSAY LOW MOLECULAR WEIGHT HEPARIN (Heparin Level) | 0 | IH | 2.7 ml blood (light blue top tube) | Must be received by lab within 4 hours of collection. | Cooler | Daily | 7 |
| APCR | See Activated Protein C – Resistance | SO |  |  |  |  |  |
| ARBOVIRUS ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Refrigerate | Referral | R |
| ARGININE VASOPRESSIN (ADH) | See Report | SO | 5 ml blood (lavender top tube) | Transport on ice | Refrigerate | Referral | R |
| ASCITIC FLUID CULTURE & SMEAR | See Body Fluid culture | IH |  |  |  |  |  |
| ASO (ANTISTREPTOLYSIN O TITER) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| ASPARTATE AMINOTRANSFERASE (AST, SGOT) | 15-37 U/L | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp-3 days Refrig up to 7 days (2-8°) Freeze (-20°) -1 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 21 |
| ASPERGILLUS ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube). | Refrigerate | Cooler | Referral | R |
| BABESIA BY PCR | See Report | SO | 5 ml blood (lavender top tube) | Refrigerate | Cooler | Referral | R |
| BABESIOSIS Ab PANEL (IgG/IgM) | See Report | SO | 7 ml serum (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| BABESIA SMEAR | Negative, no parasites observed | IH | 2.7 ml blood (light blue top tube) | Room temp. | Cooler | Daily | 41 |
| BARTONELLA BY PCR | See Anaplasma by PCR |  |  |  |  |  |  |
| BARTONELLA HENSELAE ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| BASIC PROFILE | Includes: Carbon Dioxide Potassium Chloride Sodium Creatinine Urea Nitrogen Glucose Calcium See individual tests for reference values. | IH | 7 ml blood (gold or red top tube) Pediatrics: 1 ml blood. | Refrigerate Storage after separation Room temp- 8 hrs Refrig up to 3 days (2-8°) Rejection Criteria Reject gross hemolysis | Cooler | Daily | See Ind. Tests |
| BETA 2 GLYCOPROTEIN (Ig A1 IgG/IgM) | See Report | SO | 5 ml (light blue top) or 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| BETA 2 MICROGLOBULIN | See Report | SO | 10 ml urine or 7 ml blood (gold or red top tube). Overnight fasting preferred. | Refrigerate | Cooler | Referral | R |
| BETA HCG, SERUM (QUANTITATIVE) | EARLY PREGNANCY COMMENTS: HCG VALUES (MIU/ML) INTERPRETATION < 4 Negative 4-24 Indeterminate >24 Positive Gestational Age hCG mIU/ml (IU/L) 0.2-1 Week 5-50 1-2 Weeks 50-500 2-3 Weeks 100-5000 3-4 Weeks 500-10000 4-5 Weeks 1000-50000 5-6 Weeks 10000-100,000 6-8 Weeks 15000-200,000 2-3 Months 10000-100,000 | IH | 2 ml blood (gold or red top tube) | Refrigerate Send ASAP to lab Storage after separation Room temp-12 hrs Refrig up to 48 hrs (2-8°) Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| BETA HCG, SERUM (QUALITATIVE) | Negative = <10 mIU/ml | IH | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Daily | 32A |
| BETA-HYDROXY BUTYRATE | <0.3 MMOL/L | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Refrig 7 days at (2-8°C) Rejection Criteria Hemolysis Wrong tube | Cooler | Daily | 21 |
| BILE ACIDS, FRACTIONATED | See Report | SO | 7 ml blood (gold or red top tube). Overnight fasting preferred. | Refrigerate | Cooler | Referral | R |
| BILIRUBIN, DIRECT | 0.0-0.2 MG/DL | IH | 1 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate. Protect from light Storage after separation Room temp-8 hrs Refrig up to 5 days (2-8°) Freeze (-20°) may be stored UP TO 3 MONTHS Rejection Criteria Reject gross hemolysis | Cooler | Daily | 8 |
| BILIRUBIN, TOTAL | Adult 0.2-1.2 MG/DL Neonate to 3 months 0.2 – 1.0 MG/DL | IH | 1 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate. Protect from light Storage after separation Room temp-8 hrs Refrig up to 5days (2-8°) Freeze (-20°) up to 6 mo Rejection Criteria Reject gross hemolysis | Cooler | Daily | 8 |
| BLASTOMYCES ANTIBODY | See Report | SO | 7 ml blood (red top tube or 1 ml CSF) | Refrigerate | Cooler | Referral | R |
| BLOOD CULTURE, ACID FAST BACILLI | Any organism isolated may be considered a potential pathogen. Identification done by DNA probe at an additional cost. Sensitivity is automatically added on TB isolates. | SO | 5 ml blood or bone marrow drawn into a Bactec(R) Myco/ F Lytic aerobic blood bottle. Please call lab to obtain bottle. | Room temp. | Room temp. | Daily | 13 |
| BLOOD CULTURE, FUNGUS | Any organism isolated may be considered a potential pathogen. Held for 14 days. Request for Histoplasma will be sent to reference lab. | IH | 17 ml blood in an anaerobic and aerobic culture bottle. | Room temp. | Room temp. | Daily | 13 |
| BLOOD CULTURE, ROUTINE | Any organism isolated may be considered a potential pathogen. Sensitivity performed automatically on most isolates. | IH | 17 ml blood in an anaerobic and aerobic culture bottle. | Room temp. | Room temp. | Daily | 13 |
| BLOOD CULTURE, YEAST | Any organism isolated may be considered a potential pathogen. Separate request: held for 14 days. | IH | 17 ml blood in an anaerobic and aerobic culture bottle. | Room temp. | Room temp. | Daily | 13 |
| BLOOD GAS (ARTERIAL/VENOUS) NOTE: Lactate, carboxyhemoglobin and methemoglobin may be performed with either the arterial or venous sample | PARAMETER; ARTERIAL; VENOUS; UNITS. pH; 7.350 – 7.450; 7.320-7.420. PCO2; 35.0 – 45.0; 41.0 – 51.0; MMHG. PO2; >80; 40 – 50; MMHG. HCO3; Female 20.0-24.0 Male 22.0-26.0; 24.0 – 25.0; MEQ/L. O2 SAT; >95; 56 - 76; %. BASE EXCESS; MEQ/L. | IH | Arterial: Collected by Respiratory Therapist or other qualified personnel. Venous: Collected by phlebotomy or line draw. | Transport immediately Rejection Criteria Clotted sample Collect to receipt time > 30 minutes | Pneumatic Tube within 10 minutes of collection | Daily | 36 |
| BLOOD GAS (CORD BLOODS) | PARAMETER; ARTERIAL; VENOUS; UNITS. pH; 7.12 – 7.33; 7.25 – 7.41. PCO2; 44.2 – 71.2; 35.0 – 50.9; MMHG. PO2; 6.5 – 26.1; 16.3 – 41.1; MMHG. HCO3; 20.3 – 28.0; 18.7 – 25.6; MEQ/L. O2 SAT; %. BASE EXCESS; MEQ/L. | IH | Collected by qualified personnel. | Transport immediately Rejection Criteria Clotted sample Collect to receipt time > 30 minutes | Pneumatic Tube within 10 minutes of collection | Daily | 36 |
| BLOOD GROUPING ABO, AND Rh | Not applicable | IH | 6 ml (pink top tube) | Store at Room temperature. Refrigerate if held overnight. | Cooler | Daily | 29 |
| BLOOM SYNDROME, DNA | See Report | SO | 2 lavender top tubes required. | Room temp. | Room temp. | Referral | R |
| B NATRIURETIC PEPTIDE | See NT ProBNP | IH | 7 ml (gold or red top tube) | Specimens need to be separated within 2 hours of collection Storage after separation Stable 3 days (72 hrs) (2-8°) 12 months frozen @ (-20° C) or below Rejection Criteria Reject gross hemolysis Wrong tube Outside of handling requirements | Cooler | Daily | 66 |
| BNP (BRAIN NATRIURETIC PEPTIDE) | See NT ProBNP | IH |  |  |  |  |  |
| BODY FLUIDS - CELL COUNT AND WBC DIFFERENTIAL | Body fluids have no normal range only CSF | IH | CSF sterile numbered tube. All others lavender top tube. Indicate fluid source on tube. | Room Temp. | Cooler | Daily | 41 |
| BODY FLUIDS, CULTURE AND SMEAR | No growth in 5 days | IH | Indicate fluid source on sterile specimen container. Suggested minimum of 1 ml fluid submitted in a sterile container but any amount is acceptable. Do not submit specimen in red or gold plastic blood collection tubes. | Refrigerate | Cooler | Daily | 13/41 |
| BODY FLUIDS, CYTOLOGY | Report and interpretation provided | IH | Fresh and unfixed | Send immediately | Cooler | Mon - Fri |  |
| BONE CULTURE | No growth in 5 days | IH | Send in sterile container. | Room temp. | Room temp. | Daily | 13 |
| BONE MARROW ASPIRATION | Report and interpretation provided | IH | 2-3 ml Heparinized Bone Marrow Aspirate, plus 4 ml blood (lavender top tube for CBC5D and Retic Count). | Store at Room temperature. Must be received by the laboratory as soon as possible. | Room temp. | Mon-Fri. | 41 |
| BONE MARROW BIOPSY | Report and interpretation provided | IH | Place biopsy directly into B5 fixative. | Store at Room temperature. See Bone Marrow Aspiration. | Room temp. | Mon-Fri. | 41 |
| BONE MARROW CULTURE & SMEAR | No growth in 5 days | IH | Draw into a pre-Heparinized syringe to prevent clotting. Transfer into sterile container. Do not submit specimen in red or gold plastic blood collection tubes. | Refrigerate | Cooler | Daily | 13/41 |
| BONE MARROW TOUCH PREP | Report and interpretation provided | IH | Send labeled bone marrow slides plus 4 ml blood (lavender top tube). Keep dry and at room temp. | Store at room temperature. | Room temp. | Mon-Fri. | 41 |
| BORDETELLA PERTUSSIS CULTURE | See Report | SO | Use swab (E-swab) provided in specimen collection kit. Follow enclosed directions. | Inoculate media in kit. Room temp. | Room temp. | Referral | R |
| BORDETELLA PERTUSSIS PCR | See Report | SO | Use swab provided in the specimen collection kit. | Refrigerate | Cooler | Referral | R |
| BORDETELLA PERTUSSIS, IGG/IGA | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| BRONCHIAL CULTURE | Oropharyngeal flora reported if no pathogen(s) isolated | IH | Bronchial tube | Refrigerate | Cooler | Daily | 13/41 |
| BRUCELLA BY PCR | See Anaplasma by PCR |  |  |  |  |  |  |
| BRUCELLA SPECIES Ab | See Report | SO | 7 ml blood (gold or red top tube) | Room Temp. | Room Temp. | Referral | R |
| BRUSHINGS, CYTOLOGY | Report and interpretation provided | IH | Fresh and unfixed | Send immediately | Cooler | Mon - Fri |  |
| BUPRENORPHINE SCREEN (URINE) OR BUPRENORPHINE SCREEN WITH CONFIRMATION (SUBOXONE SCREEN) | Reference Range: Negative A positive result from the assay indicates only the presence of buprenorphine and/or norbuprenorphine at a concentration of at least 5 ng/ml. This screening test is not intended for quantifying the analytes in patient samples. Please see confirmation report for specific buprenorphine and/or norbuprenorphine concentration. A positive result does not indicate drug abuse. | IH | 25 ml urine in sterile/plain urine cup or BD yellow top urine tube. NEED 2 FULL TUBES Collect in polypropylene or polyethylene containers, or approved urine cups distributed by the lab or 2 full BD yellow top urine tubes. | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) stable Rejection Criteria DO NOT send blue BD urine container with sharp in lid. DO NOT send Tiger Top Tube. | Cooler | M-F | 62 |
| BUPRENORPHINE (URINE) WITH DRUG SCREEN | Reference Range: Negative A positive result from the assay indicates only the presence of buprenorphine and/or norbuprenorphine at a concentration of at least 5 ng/ml. This screening test is not intended for quantifying the analytes in patient samples. Please see confirmation report for specific buprenorphine and/or norbuprenorphine concentration. A positive result does not indicate drug abuse. | IH | 25-50 ml urine in sterile/plain urine cup or BD yellow top urine tube. NEED 2 FULL TUBES Collect in polypropylene or polyethylene containers, or approved urine cups distributed by the lab or 2 full BD yellow top urine tubes. | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) stable Rejection Criteria DO NOT send blue BD urine container with sharp in lid. DO NOT send Tiger Top Tube. | Cooler | M-F | 62 |
| C3 C4 | 90 – 180 MG/DL 10 – 40 MG/DL | IH IH | 3 ml blood (red or gold top tube) 3 ml blood (red or gold top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) 3 months Rejection Criteria Reject gross hemolysis | Cooler Cooler | Dailey Daily | 42 42 |
| CA 15-3 | See Report | REC | 7 ml blood (red or gold top tube) | Room Temp. | Room Temp. | Referral | R |
| CA 19-9 | <35 U/ML These results were obtained with ADVIA Centaur CA 19-9 assay via direct chemiluminescence methodology. Results obtained from other manufacturers' methods may not be used interchangeably. Elevated levels of CA 19-9 cannot be interpreted as absolute evidence of new or recurrent malignancy. | IH | 7 ml blood (gold or red top tube) | Refrigerate Transport in cooler Storage after separation Room temp 8 hrs Refrig up to 48 hrs (2-8°) Freeze (-20°) -after 48 Rejection Criteria Reject gross hemolysis | Cooler | M-F | 57 |
| CA 27.29 (BR) | <38.6 U/ML These results were obtained with ADVIA Centaur CA 27.29 assay via direct chemiluminescence methodology. Results obtained from other manufacturers' methods may not be used interchangeably. Elevated levels of CA 27.29 cannot be interpreted as absolute evidence of new or recurrent malignancy. | IH | 7 ml blood (gold or red top tube only) | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 48 hrs (2-8°) Freeze (-20°) -after 48 Rejection Criteria Reject gross hemolysis | Cooler | Weds | 57 |
| CA 125 | <30.2 U/ML Test performed by ADVIA Centaur CA 125 II assay via direct chemiluminescence methodology. Values obtained by other methods or manufacturers' cannot be compared interchangeably. Elevated levels of CA-125 cannot be interpreted as absolute evidence of new or recurrent malignancy. Falsely decreased CA-125 results may occur on samples from patients taking Biotin. | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8hrs Refrig up to 24 hrs (2-8°) Freeze (-20°) -after 48 hr avoid freeze/thaw Rejection Criteria Reject gross hemolysis | Cooler | M-F | 57 |
| C-PEPTIDE | 0.8-3.9 NG/ML | IH | 7ml blood (gold or red tube) Fasting specimen required. | Refrigerate. Storage after separation Room temp 8 hrs Refrig up to 24 hrs (2-8°) Freeze (-20°) longer than 24 hrs Rejection Criteria Reject gross hemolysis | Cooler | Weds | 57 |
| CAFFEINE | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| CALCITONIN | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| CALCIUM, FREE | 3.8-5.2 MG/DL | IH | Heparinized syringe collected by Respiratory Therapist or other qualified personnel or 1 dark green top tube (sodium heparin) | Centrifuge 30 minutes after drawing. For syringe transport immediately. Rejection Criteria Reject gross hemolysis Gross Lipemia Open tubes > 1 hour Unspun tubes > 1 hour | Cooler | Daily | 36 |
| CALCIUM, SERUM | 8.5-10.1 MG/DL | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp-24 hrs Refrig up to 7 days (2-8°) Freeze (-20°) may be stored for 6 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 61 |
| CALCIUM, URINE | 42-353 MG/24 HR Not applicable for random urine. | IH | 24 hour urine with no preservative or fresh random specimen (50 ml minimum) OR Collect in 6N HCL bottle. Refrigerate during collection. Obtain bottle from Chemistry (525-1465). | Refrigerate. Send entire specimen for 24 hour urine, record collection period (hours) on requisition. | Cooler | Daily | 61 |
| CANAVAN DISEASE MUTATION ANALYSIS | See Report | SO | 10 ml blood (lavender top tube). (Two full lavender top tubes required.) | Room temp. Complete reference lab requisition. | Room temp. | Referral | R |
| CANDIDA ANTIBODY | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| CARBAMAZEPINE (TEGRETOL) | Therapeutic: 4.0-12.0 UG/ML | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-24 hrs Refrig up to 7 days (2-8°) Rejection Criteria Reject gross hemolysis | Cooler | Daily | 65 |
| CARBOHYDRATE DEFICIENT TRANSFERRIN | See Report | SO | 7 ml blood (gold or red top tube). Testing performed on adults only. | Refrigerate | Cooler | Referral | R |
| CARBON DIOXIDE (CO2) | 22-30 MEQ/L | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Analyze ASAP Do not leave uncapped for any length of time Storage after separation Store at (2-8°) 8hrs | Cooler | Daily | 21 |
| CARBOXY- HEMOGLOBIN | 0.0 - 3.0% | IH | 5 ml blood (green top tube) or heparinized syringe. | Refrigerate | Cooler | Daily | 12 |
| CARCINOEMBRYONIC ANTIGEN (CEA) | <3.0 NG/ML - Non-smoker <5.0 NG/ML – Smoker NOTE: These results were obtained with ADVIA Centaur CEA assay via direct chemiluniscence methodology. Results obtained from other manufacturers' methods may not be used interchangeably. Elevated levels of CEA cannot be interpreted as absolute evidence of new or recurrent malignancy. Falsely decreased CEA results may occur on samples from patients taking Biotin. | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8hrs Refrig up to 48 hrs (2-8°) Freeze (-20°) -after 48 hrs avoid freeze/thaw Rejection Criteria Reject gross hemolysis | Cooler | M-F | 57 |
| CARDIAC BLOOD GAS PROFILE | PARAMETER; ARTERIAL; VENOUS; UNITS. pH; 7.350 – 7.450. PCO2; 35.0 – 45.0; MMHG. PO2; >80; 40 – 50; MMHG. HCO3; Female 20-24 Male 22-26; MEQ/L. O2 SAT; >95; %. BASE EXCESS; MEQ/L. NA+; 136 – 145; MEQ/L. K+; 3.5 – 5.1; MEQ/L. GLUCOSE; 70 – 99; MG/DL. FREE CALCIUM; 3.8 – 5.2; MG/DL. | IH | Collected by Respiratory Therapist or other qualified personnel. | Transport immediately Rejection Criteria Clotted sample Collect to receipt time > 30 minutes | Pneumatic Tube within 10 minutes. | Daily | 36 |
| CARDIOLIPIN ANTIBODY WITH REFLEX | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| CAROTENE | See Report | SO | 7 ml blood (red or gold top tube) Protect from light. (Wrap in foil.) | Protect from light. | Cooler | Referral | R |
| CAT SCRATCH ANTIBODY | See Bartonella Henselae | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| CATECHOLAMINES, PLASMA | See Report | SO | 5 ml blood (pre-chilled green top tube). Collect and place immediately on ice. Special drawing requirements. Call Lab for instructions (525-5623). | Refrigerate. Keep on ice. | Ice | Referral | R |
| CATECHOLAMINES, URINE | See Report | SO | 24 hour urine: Collect in HCL bottle. Refrigerate during collection. Obtain bottle from Chemistry (525-1495). | 24 hour urine: Refrigerate. Record total collection period (hours) on requisition. | Cooler | Referral | R |
| CATHETER TIP CULTURE | See Report | IH | Tip placed in sterile container. | Refrigerate | Cooler | Daily | 13 |
| CBC, COMPLETE BLOOD COUNT WITH WBC DIFFERENTIAL | See Hematology Reference Ranges.doc | IH | 4 ml blood (lavender top tube) | Avoid temperature extremes. Transport within 8 hours. | Cooler | Daily | 4 |
| CD4\CD8 T4/T8 (LYPHOCYTE RATIO) | See Report | SO | 5 ml blood (lavender top tube) plus 5 ml blood (green heparin tube) | Room temp. Must be received in lab by 1500. | Room temp. | Referral | R |
| CELIAC DISEASE PANEL (includes serum IGA, Transglutaminase Ab IGA, Gliadin Ab IGA) | See Report Do not use if accompanied by a Prometheus Requisition. | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| CELIAC GENETICS | See Report | SO | 5 ml blood (lavender top tube). Must have a Prometheus Lab requisition. | Refrigerate | Cooler | Referral | R |
| CELIAC PLUS | See Report | SO | 5 ml blood (lavender top tube) AND 7 ml blood (gold or red top tube). Must have a Prometheus Lab requisition. | Refrigerate | Cooler | Referral | R |
| CELIAC SEROLOGY | See Report | SO | 7 ml blood (gold or red top tube). Must have a Prometheus Lab requisition. | Refrigerate | Cooler | Referral | R |
| CERULOPLASMIN | See Report | S0 | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| CHLAMYDIA ANTIBODY-LGV | See Report | S0 | 7 ml blood (red top tube only) | Refrigerate | Cooler | Referral | R |
| CHLAMYDIA ANTIBODY-TWAR Includes: Pneumoniae, Trachomatis, Psittacossis | See Report | SO | 7 ml blood (gold or red top tube). Collect using aseptic technique. | Refrigerate | Cooler | Referral | R |
| CHLAMYDIA/GC DNA PROBE | Negative Acceptable specimen: Endocervical, urethra and eye. | S0 | A gender specific collection kit is required. | Room temp. | Room temp. | Referral | R |
| CHLAMYDIA PNEUMONIAE PCR | Negative Acceptable specimen: nasopharyngeal, throat, sputum. | SO | Sterile swab or sputum in M4 media should be submitted as soon as possible after collection. Wooden swabs are unacceptable. | Refrigerate | Cooler | Referral | R |
| CHLAMYDIA/GC, RNA, TMA | Negative Acceptable specimen: Endocervical, urethra, vaginal, urine and Thin Prep liquid PAP. | SO | Urine: 20-30 ml first catch. Endocervical, vaginal, urethra: www.gen-probe.com/pdfs/pi/bx0121-01-artrevc.pdf | Urine and urethra: Patient should not have urinated within 1 hour of sample collection. | Cooler | Referral | 64 |
| CHLAMYDIA TRACHOMATIS CULTURE | See Report Acceptable specimen: Urethra, endocervical, eye, nasopharyngeal aspirate, throat, and rectal. | SO | Specimen should be collected in M4 transport media (available on supply order form or from the Microbiology Lab) WOODEN SWABS ARE UNACCEPTABLE. | Place in transport media. Refrigerate. | Cooler | 2/week | 47 |
| CHLAMYDIA TRACHOMATIS, RNA, TMA | Negative Acceptable specimen: Endocervical, urethra, vaginal, urine and Thin Prep liquid PAP. | IH | Urine: 20-30 ml first catch. Endocervical, vaginal, urethra: www.gen-probe.com/pdfs/pi/bx0121-01-artrevc.pdf | Urine and urethra: Patient should not have urinated within 1 hour of sample collection. | Cooler | Referral | 64 |
| CHLORIDE, CSF | See Report | SO | 1 ml spinal fluid in a sterile container. | Refrigerate | Cooler | Referral | R |
| CHLORIDE, SERUM | 98-107 MEQ/L | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp- 8 hrs Refrig up to 3 days (2-8°) Rejection Criteria Reject gross hemolysis | Cooler | Daily | 36A |
| CHLORIDE, URINE | 110-250 MEQ/24 hours Not applicable for random urine. | IH | Fresh random specimen (5 ml minimum) or 24 hour collection with no preservative. Keep refrigerated during collection. | Refrigerate. Send entire random specimen. For 24 hour urine, record collection period (hours) on requisition. | Cooler | Daily | 36A |
| CHOLESTEROL | <200 MG/DL Desirable 200 – 239 Borderline >239 High | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. Fasting required. | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Frozen (-28°) -3 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 21 |
| CHOLESTEROL, HDL | Cardiovascular Risk Low >59 MG/DL High <40 MG/DL | IH | 5 ml blood (gold or red top tube) Fasting specimen preferred. | Refrigerate Storage after separation Room temp-8 hrs Refrig up to7days (2-8°) Freeze (-70°) up to 3 mo Rejection Criteria Reject gross hemolysis | Cooler | Daily | 67 |
| CHROMOGRANIN A | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| CHROMOSOME ANALYSIS (AMNIOTIC FLUID) | See Report | SO | 20 ml amniotic fluid in 3 separate tubes. Complete reference lab requisition. All information must be received within 24 hours. | Room temp. | Room temp. | Referral | R |
| CHROMOSOME ANALYSIS (BLOOD) | See Report | S0 | 5 ml blood (green top tube). Monday-Friday. Must be in Lab by 2pm. | Room temp. | Room temp. | Referral | R |
| CHROMOSOME ANALYSIS (BLOOD) FOR BIRTH DEFECTS | Report sent directly to physician | SO | 5 ml blood (green top tube). Newborns less than 30 days old only. | Room temp. Specimen must accompany complete history form. | Room temp. | Referral | R |
| CHROMOSOME ANALYSIS (BONE MARROW) | See Report | SO | 1-2 ml Heparinized Bone Marrow Aspirate. Pathologist approval required. | Room temp. Need clinical indications for testing. | Room temp. | M-F | R |
| CHROMOSOME ANALYSIS (HIGH RESOLUTION) | See Report | SO | 5 ml blood (green top tube). Monday-Friday. Must be in Lab by 2pm. | Room temp. Need clinical indications for testing. | Room temp. | Referral | R |
| CHROMOSOME ANALYSIS (TISSUE) | See Report | SO | Tissue submitted in sterile container. Genetics form required. | Refrigerate | Cooler | Referral | R |
| CITRIC ACID, URINE | See Report Patient must be off all medications for three days prior. | SO | 24 hour urine: Collect in Boric acid bottle or HCL. Refrigerate during collection. Obtain bottle from Chemistry (525-1495). | 24 hour urine: Refrigerate. Record total collection period (hours) on requisition. | Cooler | Referral | R |
| CK ISOENZYMES | See Report. (Includes Total CK, CK-MM, CK-MB, CK-BB) | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| CLOMIPRAMINE | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| CLONAZEPAM | See Report | SO | 7 ml blood (red top tube). No SST tube. | Refrigerate | Cooler | Referral | R |
| CLOSTRIDIUM DIFFICILE by PCR | Negative for C. difficile Toxin B DNA gene sequences. Do not repeat as a measure of cure. | IH | Liquid stool only. Minimum of 1 ml in clean container with secure lid. Swabs are unacceptable. | Refrigerate | Cooler | Daily | 76 |
| CLOZAPINE | See Report | SO | 5 ml blood (lavender top tube) or 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| CMV | See Cytomegalovirus |  |  |  |  |  |  |
| COCCIDIODES ANTIBODY | See Report | SO | 7 ml blood (red top tube or 1 ml CSF) | Refrigerate | Refrigerate | Referral | R |
| COLD AGGLUTININS | See Report | IH | 7 ml blood (pink top tube) This test is only for in-house patients undergoing open heart surgery. For non-surgery patients, you will need pathology approval from Dr. Eaton. Call Lab for tube types, if approved. (525-1495) | DO NOT Refrigerate. Room temp. | Room temp. | Daily | 29 |
| COLD HEMOLYSIN (Donath-Landsteiner) | Negative | IH | 14 ml blood (must be in 2 separate red top tubes). Do not use SST tubes. | MUST BE constantly maintained at body temp. (37) | Body temp. (37) | Mon-Fri. | 30 |
| COMPREHENSIVE PROFILE | Includes: Includes: Chloride Sodium Creatinine Urea Nitrogen Glucose ALT Albumin CO2 Alkaline Phosphatase Asparate Aminotransferase Potassium Bilirubin, Total Total Protein Calcium Estimated Glomerular Filtration Rate & Anion Gap See individual tests for reference values. | IH | 7 ml blood (gold or red top tube) Pediatrics 2 ml blood. | Refrigerate Storage after separation Room temp- 8 hrs Refrig up to 3 days (2-8°) Rejection Criteria Reject gross hemolysis | Cooler | Daily | See Ind. Tests |
| COMPLEMENT ASSAYS: C1Q C1Q BINDING C2 C5 C6 CH50 C1 ESTERASE INHIBITOR | See Report See Report See Report See Report See Report See Report See Report | SO SO SO SO SO SO SO | 7 ml blood (red top tube) 7 ml blood (red top tube) 7 ml blood (red top tube) 7 ml blood (red top tube) 7 ml blood (red or gold top tube) 7 ml blood (red top tube) 7 ml blood (red top tube only) | Refrigerate Refrigerate Refrigerate Refrigerate Refrigerate Refrigerate Refrigerate – transport to lab on ice | Cooler Cooler Cooler Cooler Cooler Cooler Cooler | Referral Referral Referral Referral Referral Referral Referral | R R R R R R R |
| COPPER SERUM | See Report | SO | 5 ml blood (plain navy blue tube). *Send to lab within 2 hours* | Refrigerate | Cooler | Referral | R |
| CORTISOL, SERUM | a.m. serum (7-9 am) 4.3-22.4 UG/DL p.m. serum (3-5 pm) 3.1-16.7 UG/DL | IH | 2 ml blood (gold or red top tube). Dark green or light green top tube for plasma. | Refrigerate. Transport to Lab ASAP. Storage after separation Room temp 8 hrs Refrig up to 48 hrs (2-8°) Freeze (-20°) longer than 48 hrs Rejection Criteria Reject gross hemolysis | Cooler | Daily | 57 |
| CORTISOL, URINE (FREE) | See Report | SO | 24 hour urine. No preservative or Boric Acid preservative or HCL. Obtain bottle from Chemistry 525-1495. | Record collection period (hours) on requisition. Storage after separation Room temp-8hr Refrig up to 48 hrs (2-8°) Freeze (-20°) longer than 48 hrs | Cooler | Referral | R |
| COXSACKIE A VIRUS ANTIBODY | See Report | SO | 7 ml blood (gold or red top tube or 1 ml CSF) | Refrigerate | Cooler | Referral | R |
| COXSACKIE B VIRUS ANTIBODY (MYOCARDITIS PANEL) |  | SO | 7 ml blood (red top tube or 1 ml CSF) | Refrigerate | Cooler | Referral | R |
| COXSIELLA BY PCR | See Anaplasma by PCR |  |  |  |  |  |  |
| C-REACTIVE PROTEIN | <5 MG/L | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) may be stored for 8 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 42 |
| C-REACTIVE PROTEIN (HIGH SENSITIVE) | AHA/CDC Risk Stratification LOW <1.0 MG/L AVERAGE 1.0-3.0 MG/L HIGH >3.0 MG/L | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) may be stored for 8 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 42 |
| CREATININE KINASE, TOTAL (CK) | Male: 39-308 U/L Female: 26-192 U/L | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) may be stored for 8 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 21 |
| CREATININE, SERUM INCLUDES GLOMERULAR FILTRATION RATE, ESTIMATED | 0.6-1.3 MG/DL Estimated GFR >60 ML/MIN/1.73 SQM | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp-24 hrs Refrig up to 7 days (2-8°) Freeze (-20°) may be stored up to 3 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 68 5 |
| CREATININE, URINE | 1.0-2.0 g//24 hr Not applicable for random urine | IH | 24 hour urine collection in any preservative bottle or fresh random specimen (2 ml minimum). | Refrigerate. Send entire random specimen or 24 hour collection. For 24 hour urine record collection period (hours) on requisition and bottle. Storage after separation Refrig up to 4 days (2-8°) Freeze for longer storage | Cooler | Daily | 68 |
| CREATININE CLEARANCE URINE AND A BLOOD SAMPLE ARE BOTH REQUIRED | Age Female Ref. Range ML/MIN Male Ref. Range ML/MIN 0-39 87-107 107-139 40-49 81-101 101-133 50-59 75-95 95-127 60-69 69-89 54-121 70-79 63-83 48-115 80-89 57-77 84-109 90- 51-71 78-103 | IH | Blood should be collected at the time the specimen is returned to the lab. 24 urine collection with no preservative plus 7 ml blood (gold or red top tube) for Creatinine. | Urine: Refrigerate Serum: Refrigerate Serum Creatinine results will be accepted +/- 36 hrs of the urine collection. Results outside of this parameter must be reviewed by a supervisor. | Cooler | Daily | 5 |
| CRYOGLOBULIN | See Report | SO | 10 ml blood (2 red top tubes, no SST). Must be drawn at facility. Blood must be received by lab prior to specimen clotting 10 minutes maximum. | Room temp. Immediate delivery to laboratory using warm water. MUST reach lab before blood clots. | Body temp.- warm | Referral | R |
| CRYPTOCOCCUS ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| CRYPTOCOCCUS ANTIGEN-CSF OR SERUM | See Report | SO | 1 ml CSF in a sterile tube. Or 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| CRYPTOSPORIDIUM ANTIGEN | See Parasitology Screen |  |  |  |  |  |  |
| CSF | Report and interpretation provided | IH | Fresh and unfixed | Send immediately | Cooler | Mon - Fri |  |
| CSF CELL COUNT | See spinal fluid cell count | IH |  |  |  |  |  |
| CSF CULTURE & SMEAR | See body fluid culture | IH |  |  |  |  |  |
| CYCLIC CITRULLINE PEPTIDE IGG | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| CYCLOSPORINE, WHOLE BLOOD | Target range vary widely by clinical condition. Toxicity may be expected with levels >400 NG/ML. | IH | 5 ml blood (lavender top tube). Note time of draw and whether peak or trough, date and time of last dose. | Refrigerate Storage after separation Room temp-8hrs refrig (2-8°) 7 days frozen (-20°) 3 months | Cooler | M-F | 62 |
| CYSTIC FIBROSIS CARRIER SCREEN | See Report | SO | 5 ml blood (lavender top tube) | Room temp. | Room temp. | Referral | R |
| CYTOMEGALOVIRUS CULTURE | Virus isolation | SO | 2 ml urine (no preservative). >0.1g tissue, throat swab, sputum in M4 media CSF (sterile container) | Refrigerate. Completed history form must accompany specimen. | Cooler | Referral | R |
| CYTOMEGALOVIRUS DNA, PCR (QUALITATIVE) | See Report | SO | 1 ml whole blood - EDTA or ACD. 1 ML RANDOM URINE 1 ML STERILE FLUID (Pleural fluid not acceptable.) | Cooler | Cooler | Referral | R |
| CYTOMEGALOVIRUS DNA, PCR (QUANTITATIVE) | See Report | SO | 1 ml whole blood - EDTA or ACD. 1 ml plasma - EDTA or ACD. 1 ml sterile fluid. | Cooler | Cooler | Referral | R |
| CYTOMEGALOVIRUS IGG IGM | See Report | SO | 7 ml blood (gold or red top tube or 1 ml CSF) | Refrigerate | Cooler | Referral | R |
| D-DIMER | <500 FEU NG/ML | IH | 2.7 ml blood (light blue top tube) | Room temp. Transport to lab within 24 hours of collection. | Room temp. | Daily | 7 |
| DEHYDROEPIANDRO-STERONE, UNCONJUGATED (DHEAU) | See Report | SO | 7 ml blood (red top tube only) Overnight fasting preferred. | Refrigerate. Overnight fasting preferred. | Cooler | Referral | R |
| DEHYDROEPIANDRO-STERONE, SULFATE (DHEAS) | MALE: 80-560 UG/DL FEMALE: 35-430 UG/DL | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 2 days (2-8°) Freeze (-20°) may be stored up to 2 months Rejection Criteria Reject gross hemolysis | Cooler | Tu, Th | 57 |
| DELTA OD, AMNIO (BILIRUBIN SCAN) | See Report | SO | 4 ml amniotic fluid. Protect from light. | Refrigerate Complete reference lab requisition. | Cooler. | Referral | R |
| DENGUE FEVER Ab | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| 11-DEOXYCORTISOL | See Report | SO | 7 ml blood (gold or red top tube). Early morning specimen preferred. | Refrigerate | Cooler | Referral | R |
| DESIPRAMINE (NORPRAMINE) | See Report | SO | 14 ml blood (2 red top tubes only). | Refrigerate | Cooler | Referral | R |
| DIFFERENTIAL, MANUAL | Adult Neutrophil 50-75% Lymphocyte 24-44% Monocyte 0-10% Eosinophil 1-3% Basophil 0-1% | IH | 4 ml blood (lavender top tube) | Room temp. | Cooler | Daily | 4 |
| DIFFERENTIAL PT (DPT) (MIXING STUDIES) |  | IH | 2.7 ml blood (light blue top tube) | Must be received by lab within 4 hours of collection. | Cooler | Daily | 44 |
| DIFFERENTIAL PTT (DPTT) (MIXING STUDIES) |  | IH | 2.7 ml blood (light blue top tube) | Room temp or freeze and send | Cooler | Daily | 44 |
| DIGOXIN (LANOXIN) | Therapeutic: 0.50-2.00 NG/ML | IH | 2 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) may be stored up to 6 months Avoid multiple freeze/thaws Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| DIPHTHERIA ANTITOXOID Ab | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| DIRECT ANTIGLOBULIN TEST (DIRECT COOMBS) | Negative | IN | 6 ml (pink top tube) | Store at room temperature. Refrigerate if held overnight. | Room temp. | Daily | 29 |
| DISOPYRAMIDE (NORPACE) | See Report | SO | 7 ml blood (red top tube). NO SST. | Refrigerate | Cooler | Referral | R |
| DNA, DOUBLE STRAND ANTIBODIES | Negative | SO | 7 ml blood (gold top tube) (SST) | Refrigerate | Cooler | Referral | R |
| DNA, SINGLE STRAND ANTIBODIES | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| DRUG SCREEN, URINE QUALITATIVE WITHOUT CONFIRMATION OF THC AND COCAINE | Screen includes: Phencyclidine Cocaine Opiates Amphetamines Barbiturates Methadone Benzodiazepines Marijuana (THC) Confirmatory testing sent to reference lab Reference Range – Negative (below the cut off value) Amphetamines Negative Amphetamines <1000 NG/ML Barbiturates Negative Barbiturates <200 NG/ML Benzodiazepines Negative Benzodiazepine <200 NG/ML Opiates Negative Opiates <300 NG/ML Cocaine Metabolite Negative Cocaine <300 NG/ML THC (Cannabinoids) Negative THC <50 NG/ML PCP (Phencyclidine) Negative PCP <25 NG/ML Methadone Negative Methadone <300 NG/ML | IH | 50 ml random urine. Collect in polypropylene or polyethylene containers, or approved urine cups distributed by the lab or 2 full BD yellow top urine tubes. | Refrigerate Refrig up to 7 days (2-8°) Rejection criteria If specimen appears to be something other than urine. Wrong container. DO NOT send Tiger top tube. | Cooler | Daily Confirma- tion M-F | 70 |
| DRUG SCREEN, STAT, SERUM, QUALITATIVE | Order tests individually Screen includes: Ethanol Acetaminophen Salicylate Tricyclic Screen (No confirmatory testing). | IH | 5 ml blood (gold or red top tube) | Refrigerate | Cooler | Daily | See ind. Tests |
| DRUG SCREEN, URINE (ER & IN-HOUSE, SOME OUTPATIENTS) (DSPH) | Screen includes: Opiates Cocaine Barbiturates Amphetamines Benzodiazepines Marijuana (THC) Phencyclidine Methadone (No confirmatory testing). Buprenorphine screen Reference Range – Negative (below the cut off value) Amphetamines Negative Amphetamines <1000 NG/ML Barbiturates Negative Barbiturates <200 NG/ML Benzodiazepines Negative Benzodiazepine <200 NG/ML Opiates Negative Opiates <300 NG/ML Cocaine Metabolite Negative Cocaine <300 NG/ML THC (Cannabinoids) Negative THC <50 NG/ML PCP (Phencyclidine) Negative PCP <25 NG/ML Methadone Negative Methadone <300 NG/ML | IH | 30 ml random urine. Collect in polypropylene or polyethylene containers, or approved urine cups distributed by the lab or 2 full BD yellow top urine tubes. | Refrigerate Refrig up to 7 days (2-8°) Rejection criteria If specimen appears to be something other than urine. Wrong container. DO NOT send Tiger top tube. | Cooler | Daily | 70 |
| EAR CULTURE | No growth or normal flora | IH | Specify left or right. Swab of drainage or fluid obtained during Tympanocentesis. | Refrigerate | Cooler | Daily | 13 |
| ECHOVIRUS ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube or 1 ml CSF) | Refrigerate | Cooler | Referral | R |
| EHRLICHIA BY PCR | See Report | SO | 5 ml blood (lavender top tube) | Refrigerate | Cooler | Referral | R |
| EHRLICHIA CHAFFEENSIS AB | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| EHRLICHIA SMEAR | Negative, no bacteria observed | IH | 4 ml blood (lavender top tube) | Room temp. | Cooler | Daily | 41 |
| ELECTROLYTES | Includes: Carbon Dioxide (CO2) Potassium (K) Chloride (CL) Sodium (Na) See individual tests for reference values. | IH | 5 ml blood (gold or red top tube) Pediatrics: 1 ml blood. | Refrigerate See individual tests for storage and rejection criteria | Cooler | Daily | See ind. Tests |
| ELECTROLYTES (URINE) Includes: Na, K, CL | No reference ranges | IH | 5-10 ml fresh urine in sterile/plain urine cup or BD yellow top urine tube (NEED FULL TUBE) | Refrigerate Rejection criteria DO NOT send blue BD urine container with sharp in lid. DO NOT send Tiger top tube. | Cooler | Daily | See ind. Tests |
| ENA (SM/RNP) ANTIBODIES | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| ENCEPHELITIS PANEL | See Report | SO | 1 ml CSF | Refrigerate | Cooler | Referral | R |
| ENDOMYSIAL ANTIBODY, IGA | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| ENTEROVIRUS CULTURE | See Viral isolation. (Recent Polio virus vaccine will interfere). | SO | Throat swab or rectal swab or CSF (>0.5cc). VCM medium (green-cap) | Refrigerate | Cooler | Referral | R |
| EOSINOPHIL COUNT, URINE | See Report | SO | Urine: 12 ml fresh specimen. | Refrigerate. Transport within 4 hours. | Cooler | Referral. | R |
| EPIDERMAL ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| EPSTEIN BARR ANTIBODY PANEL Includes: IgG AB TO VIRAL CAPSID ANTIGEN IgM AB TO VIRAL CAPSID ANTIGEN IgG AB TO NUCLEAR ANTIGEN | Negative | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp- 8 hrs Refrig up to 2 days (2-8°) Freeze (-20°) may be stored up to 2 months Rejection Criteria Reject gross hemolysis lipemia | Cooler | M, W, F | 57 |
| EPSTEIN BARR VIRUS EARLY AG Ab | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| ERYTHROPOIETIN | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| ESTRADIOL, (eE2) | Estradiol Expected Values PG/ML PUBERTAL ADULT FEMALES, MENSTRUAL CYCLE Follicular Phase 21-165 Midcycle 50-367 Luteal Phase 40-259 POSTMENOPAUSAL FEMALES ON MENOPAUSAL HORMONE Therapy (MHT) <11-462 Not On MHT <11-58 MALES <11-53 | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 20 hrs Refrig up to 48 hrs (2-8°) Freeze (-20°) longer than 48 hrs up to 6 mo Rejection Criteria Reject gross hemolysis | Cooler | Mon-Fri | 66 |
| ESTROGEN RECEPTOR ASSAY | Jensen's Criteria for Breast Cancer: Premenopausal Negative: <0.15 FMOL/MG of specimen wet weight Indeterminate: 0.15 to 0.25 FMOL/MG Positive: >0.25 FMOL/MG Postmenopausal Negative: <0.40 FMOL/MG of specimen wet weight Indeterminate: 0.40 to 0.75 FMOL/MG Positive: >0.75 FMOL/MG McGuire's Criteria: Menopausal and Postmenopausal Negative: <3 FMOL/MG cytosol protein Indeterminate: 3-10 FMOL/MG cytosol protein Positive: >10 FMOL/MG cytosol protein | SO | 250-300 MG specimen/assay. Tumor tissue trimmed of fat, blood and necrotic tissue. Immediately store at -70  C. | Freeze immediately at -70  C. | Dry Cooler | Referral | R |
| ETHANOL, SERUM | Normal: <3 MG/DL Impaired: Above 50 MG/DL Intoxicated: Above 100 MG/DL Stuporous to comatose: Above 300 MG/DL For information only – not part of reference range | IH | 3 ml blood (gold or red top tube). Use a NON-ALCOHOL based disinfectant prep for phlebotomy. | Do not open tube. Refrigerate Storage after separation Keep tubes tightly closed before and after analysis. Room temp-24 hrs Refrig up to 3 days (2-8°) Freeze (-20°) may be stored frozen after 3 days Rejection Criteria Reject gross hemolysis | Cooler | Daily | 21 |
| ETHANOL, URINE | <10 MG/DL Negative (<10 MG/DL cutoff) | IH | 30 ml random urine | Refrigerate | Cooler | Daily | 21 |
| ETHYL GLUCURONIDE SCREEN, URINE | See Report | SO | 1 ml urine | Room temp or refrigerate | Cooler | Referral | R |
| ETHYLENE GLYCOL | None Detected | SO | 2 red top tubes (do not open tubes). Cannot be used for other tests. Osmolality must be ordered in a separate tube. | Do not open tubes. Refrigerate | Cooler | Referral | R |
| EXPLANTED ITEM CULTURE | No growth | IH | Explanted item in sterile container. | Room temp. | Room temp. | Daily | 13 |
| EXTRACTABLE NUCLEAR ANTIGEN (INCLUDES RNP AND SM) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| EYE CULTURE | No growth | IH | Vitreous fluid or swab of discharge or conjunctival scraping. (If trauma or foreign body, please indicate). | Refrigerate | Cooler | Daily | 13 |
| FACTOR 2 ASSAY | 50-150% | IH | 2.7 ml blood (light blue top tube). | Transport to lab within 4 hours of collection. | Cooler | Weekly | 44 |
| FACTOR 5 ASSAY | 50-150% | IH | 2.7 ml blood (light blue top tube). | Transport to lab within 4 hours of collection. | Cooler | Weekly | 44 |
| FACTOR 5, LEIDEN | See Report | SO | 2.7 ml blood (light blue top tube) | Room temp. | Room temp. | Referral | R |
| FACTOR 7 ASSAY | 50-150% | IH | 2.7 ml blood (light blue top tube). | Transport to lab within 4 hours of collection. | Cooler | Weekly | 44 |
| FACTOR 8 ASSAY | 50-150% | IH | 2.7 ml blood (light blue top tube). | Transport to lab within 4 hours of collection. | Cooler | Weekly | 44 |
| FACTOR 8 INHIBITOR | See Report | SO | 2.7 ml blood (light blue top tube). *Will need special approval from Hematology Lab.* | Transport to lab within 4 hours of collection. | Cooler | Referral | R |
| FACTOR 8 RELATED ANTIGEN (von Willebrand's Factor) | 56-161 | IH | 2.7 ml blood (light blue top tube). | Transport to lab within 4 hours of collection. | Cooler | Weekly | 44 |
| FACTOR 9 ASSAY | 50-150% | IH | 2.7 ml blood (light blue top tube). | Transport to lab within 4 hours of collection. | Cooler | Weekly | 44 |
| FACTOR 10 ASSAY | 50-150% | IH | 2.7 ml blood (blue top tube). | Transport to lab within 4 hours of collection. | Cooler | Weekly | 44 |
| FACTOR 11 ASSAY | 50-150% | IH | 2.7 ml blood (light blue top tube). | Transport to lab within 4 hours of collection. | Cooler | Weekly | 44 |
| FACTOR 12 ASSAY | See Report | SO | 2.7 ml blood (light blue top tube). *Will need special approval from Hematology Lab.* | Transport to lab within 4 hours of collection. | Cooler | Referral | R |
| FACTOR 13 SCREEN | Normal | SO | 2.7 ml blood (light blue top tube). | Transport to lab within 4 hours of collection. | Cooler | Weekly | 9 |
| FAMILIAL DYSAUTONOMIA DNA, MUTATION ANALYSIS | See Report | SO | 5 ml blood (2 lavender top tubes) | Room temp. | Room temp. | Referral | R |
| FANCONI ANEMIA DNA MUTATION ANALYSIS | See Report | SO | 5 ml blood (lavender top tube) | Room temp. Complete reference lab requisition. | Room temp. | Referral | R |
| FARMER'S LUNG DISEASE PANEL | See Hypersensitivity Pneumocystis Panel. | SO | 7 ml (red top tube only) |  |  |  |  |
| FAT, FECAL, QUALITATIVE | See Report | SO | Send a small aliquot in a plastic container. | Refrigerate | Cooler | Referral | R |
| FAT, FECAL, QUANTITATIVE | Fat intake dependent: <7 G/24 hours on a normal diet. | SO | 24, 48 or 72 hour specimen. Send in plastic jug up to half full. Call lab for jug at 525-5623. | Refrigerate | Cooler | Referral | R |
| FEBRILE AGGLUTININS | Must order each test separately as Rocky Mtn/Typhus Fever Ab, Brucella AB and Salmonella total AB. | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| FECAL LEUKOCYTES (LACTOFERRIN) | Negative by Immunochromatographic Detection | IH | Small aliquot in sterile container | Refrigerate | Cooler | Daily | 41 |
| FELBAMATE | See Report | SO | 7 ml blood (red top tube) Optimum time to collect specimen: 1 hour before next dose. | Refrigerate | Cooler | Referral | R |
| FERRITIN | Male Female 26 - 388 NG/ML 8 - 252 NG/ML | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) may be stored up to 6 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| FETAL FIBRONECTIN | Positive result between 24-30 weeks gestation in symptomatic women is associated with two to four fold risk of preterm delivery. Negative result after a positive lowers the risk. Two negative results after a positive returns the risk to baseline. | IH | Special collection kit – call 525-1465. | Refrigerate Transport, Storage & Stability Transport specimens at 2-25 degrees C or frozen. Specimens are stable for up to 8 hours at room temperature (15-30 degrees C). Specimens not tested within 8 hours of collection must be stored refrigerated at 2-8 degrees C and assayed within 3 days of collection. Specimens not tested within 3 days of collection must be frozen and assayed within 3 months of collection to avoid degradation of the analyte. Do not refreeze the specimens once thawed. Rejection Criteria Moderate or gross blood in specimen, wrong collection kit used, improperly collected | Cooler | Daily | 63 |
| FETAL/MATERNAL Red blood cell ratio | No fetal cells observed | IH | 4 ml blood (lavender top tube) | Transport within 24 hours. | Cooler | Daily | 50 + 41 |
| FIBRIN/SPLIT PRODUCTS | Negative | IH | 2.7 ml blood (light blue top tube) | Transport to lab within 8 hours of collection. | Cooler | Daily | 38 |
| FIBRINOGEN LEVEL | 177-433 MG/DL | IH | 2.7 ml blood (light blue top tube) | Transport to lab within 4 hours of collection. | Cooler | Daily | 44 |
| FIBROSPECT II | See Report | SO | 7 ml blood (gold or red top tube). Must have a Prometheus Lab requisition. | Refrigerate | Cooler | Referral | R |
| FINE NEEDLE ASPIRATIONS, CYTOLOGY | Report and interpretation provided | IH | Cytolyt solution | Send immediately | Cooler | Mon - Fri |  |
| FLM FETAL LUNG MATURITY | See Report or see Lamellar Body Count | SO | At least 6 ml of amniotic fluid | Refrigerate | Cooler | Referral | R |
| FLOW COMPREHENSIVE ANALYSIS FLOW CYTOMETRY PANEL | See Report | SO | 3-5mls of Heparinized Bone Marrow Aspirate or blood (green top tube). | Specimen must be received by the lab no later than 3pm Mon-Fri. DO NOT Refrigerate. | Room temp. | Referral | R |
| FLUID CULTURE | See body fluid culture | IH |  |  |  |  |  |
| FLUPHENAZINE | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| FOLATE | >3.1 NG/ML | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Refrig up to 8 hrs (2-8°) Freeze (-20°) after 8 hr Rejection Criteria Reject gross hemolysis Avoid freeze/thaw | Cooler | Daily | 66 |
| FOLATE, RBC | See Report | SO | 5 ml blood (lavender top tube) | Refrigerate | Cooler | Referral | R |
| FOLLICLE STIMULATING HORMONE (FSH) | FSH Expected Values MIU/ML FEMALES Pubertal Adult Females, Menstrual Cycle Follicular Phase 2.3-12.6 Midcycle Peak 5.2-17.5 Luteal Phase 1.7-9.5 Postmenopausal On Menopausal Hormone Therapy (MHT) 5.9-72.8 Not On MHT 12.7-132.2 MALES 0.7-10.8 | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 48 hrs (2-8°) Freeze (-20°) longer than 48 hrs | Cooler | Mon-Fri | 66 |
| FRAGILE X DNA | See Report | SO | 2-5 ml blood (lavender top tube) | Room Temp. Genetic requisition required. | Room temp. | Referral | R |
| FREE ERYTHROCYTE PROTOPORPHYRIN (FEP) | See Report Ordered as Zinc Protoporphyrin | SO | 1 lavender or green top tube | Refrigerate. Protect from light. | Cooler | Referral | R |
| FREE KAPPA/LAMBDA LIGHT CHAINS | See Report | SO | 7 ml blood (red top tube) | Refrigerate. | Cooler | Referral | R |
| FRUCTOSAMINE (GLYCATED PROTEINS) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| F. TULARENSIS, AB | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| FUNGUS ANTIBODY PANEL Includes: Aspergillus Blastomyces Coccidioides Histoplasma | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| FUNGUS CULTURE | 2 weeks required for negative result | IH | Any body site, or fluid. For blood see Blood Culture Fungus. | Room temp. | Room temp. | Daily | 13 |
| GAD-65 Ab | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| GAMMA GLUTAMYL TRANSFERASE (GGT, GGTP) | 5-85 U/L | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp-7days 8 hrs Refrig up7days (2-8°) Freeze (-20°) up to 6 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 21 |
| GASTRIC ACIDITY | See Report | SO | 7 ml specimen. Fluid container. 12 hour fast required. | Refrigerate | Cooler | Referral | R |
| GASTRIN | See Report | SO | 7 ml blood (gold or red top tube) Overnight fasting required. | Refrigerate | Cooler | Referral | R |
| GAUCHER DISEASE (BETA GLUCOSIDASE DNA) | See Report | SO | 2 full (lavender top tubes) | Room temp. Complete reference lab requisition. | Room temp. | Referral | R |
| GC RNA, TMA | Negative Acceptable specimen: Endocervical, urethra, vaginal, urine and Thin Prep liquid PAP. | IH | Urine: 20-30 ml first catch. Endocervical, vaginal, urethra: www.gen-probe.com/pdfs/pi/bx0121-01-artrevc.pdf | Urine and urethra: Patient should not have urinated within 1 hour of sample collection. | Cooler | Referral | 64 |
| GC CULTURE | No Neisseria Gonorrhoeae isolated. Direct plating at bedside is essential. Plate on Thayer-Martin medium (available through supply order form). | IH | Swab of appropriate source and direct plating. Place plate in bag with capsule and break. | Room temp. DO NOT refrigerate. | Room temp. | Daily | 13 |
| GC DNA PROBE | Negative. Acceptable specimens: Endocervical and urethra | IH | A gender specific collection kit is required. | Room temp. | Room temp. | 3/week | 16 |
| GENITAL CULTURE | Normal flora Pathogens identified with a sensitivity, if required. | IH | Sterile swab. Indicate site on label. | Room temp. DO NOT refrigerate. | Room temp. | Daily | 13 |
| GENTAMICIN LEVEL | Random: No Ref. Range Therapeutic Peak: 4-8 MCG/ML Trough: 0.0-1.5 MCG/ML Peak: obtain 30 min after dose has finished infusing. Trough: obtain 5-30 min before dose. | IH | 7 ml blood (gold or red top tube). Note start and stop times on requisition. | Refrigerate Storage after separation Room temp -8 hrs Refrig up to 24 hrs (2-8°) 20° up to 3 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 65 |
| GIARDIA ANTIGEN | See Parasitology Screen |  |  |  |  |  |  |
| GLIADIN AB (IGG/IGA) | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| GLOMERULAR BASEMENT MEMBRANE ANTIBODY | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| GLOMERULAR FILTRATION RATE, ESTIMATED | >60 ML/MIN/1.73 SQM | IH | 7 ml blood (gold or red top tube) Pediatrics 2 ml blood. | Refrigerate Storage after separation Room temp- 8 hrs Refrig up to 3 days (2-8°) Rejection Criteria Reject gross hemolysis | Cooler | Daily | 5 |
| GLUCAGON, PLASMA | See Report | SO | 5 ml blood (lavender top tube) | Refrigerate | Cooler | Referral | R |
| GLUCOSE, CSF | 40-80 MG/DL | IH | 1 ml spinal fluid | Refrigerate | Cooler | Daily | 71 |
| GLUCOSE, FLUID | No normal range | IH | 0.5 ml fluid | Refrigerate | Cooler | Daily | 71 |
| GLUCOSE, POST PARANDIAL | 70-120 MG/DL | IH | 4 ml blood (gray, red or gold top tube) Obtain 2 hours after eating. | Refrigerate | Cooler | Daily | 71 |
| GLUCOSE, SERUM OR PLASMA | 70-99 MG/DL | IH | 2 ml blood (red, gray or gold top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp- 8 hrs Refrig up to 3 days (2-8°) Rejection Criteria Reject gross hemolysis | Cooler | Daily | 71 |
| GLUCOSE TOLERANCE TEST, ORAL | See “Blood Collection”/”Glucose Tolerance” | IH | 4 ml blood (gray top tube) Overnight fast required. | Refrigerate. Record collection period on bottle and requisition. | Cooler | Daily | 71 |
| GLUCOSE, URINE | <0.5 g/24 hr Random <15 MG/DL | IH | 24 hr urine collection or 10 ml fresh random urine | Refrigerate. Record collection period on bottle and requisition. | Cooler | Daily | 71 |
| GLUCOSE-6-PHOSPHATE DEHYDROGENASE, QUANT | See Report | SO | 5 ml blood (lavender top tube) | Refrigerate. | Cooler | Referral | R |
| GM1 Ab | See Report | SO | 7 ml blood (red or gold top tube). Overnight fasting preferred. | Refrigerate | Cooler | Referral | F |
| GRAM STAIN | See Report | IH | 1 swab for each site; OR Fluid collected in sterile container. OR Tissue collected in sterile container. | Refrigerate Refrigerate Refrigerate | Cooler Cooler Cooler | Daily | 41 |
| GROUP A STREP SCREEN | See Strep Screen, Group A |  |  |  |  |  |  |
| GROUP B STREP SCREEN | See Strep Screen, Group B | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| GROWTH HORMONE | See Report | SO | 7 ml blood (gold or red top tube) Hemolyzed or lipemic specimens are unacceptable. | Refrigerate | Cooler | Referral | R |
| HAPTOGLOBIN | 30-200 MG/DL | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7days (2-8°) Freeze (-20°) up to 3 months Rejection Criteria Reject gross hemolysis Avoid freeze/thaw | Cooler | Daily | 42 |
| HCG, BETA, SERUM (QUALITATIVE) | Negative = <10 MIU/ml | IH | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Daily | 32a |
| HCG, BETA, SERUM (QUANTITATIVE) | See Beta HCG Serum Negative = <4 MIU/ml | IH | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Daily | 66 |
| HCG, QUAL, URINE | Negative = <20 MIU/ML | IH | 5 ml random urine in cup or BD yellow top urine tube. No preservative. | Refrigerate Rejection Criteria DO NOT send Tiger top tube | Cooler | Daily | 32a |
| HCG TUMOR MARKER | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| HDL, CHOLESTEROL | See Cholesterol, HDL |  |  |  |  |  |  |
| HEAVY METALS, URINE | See Report | SO | 24 hour urine collection in acid washed container. Obtain bottle from lab (525-5623). | Refrigerate. Record collection period (hours) on requisition. | Cooler | Referral | R |
| HEAVY METALS SCREEN, BLOOD (ARSENIC-LEAD-MERCURY) | See Report (No seafood 3 days prior. No vitamins, minerals or herbs 1 week prior.) | SO | Royal blue EDTA | Refrigerate | Cooler | Referral | R |
| HELICOBACTER PYLORI (IGA) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| HELICOBACTER PYLORI (IGM) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| HELICOBACTER PYLORI UREASE SCREEN | Negative | IH | Gastric biopsy specimen. Obtain CLOTEST from lab. Inoculate with tissue. | Room temp. | Room temp. | Daily | 21 |
| HEMOGLOBIN, HEMATOCRIT | See Hematology Reference Ranges.doc | IH | 4 ml blood (lavender top tube) | Transport to lab within 8 hours of collection | Cooler | Daily | 4 |
| HEMOGLOBIN A1C INCLUDES ESTIMATED GLUCOSE (CALCULATION) | Non-diabetic: <6.5% Diabetic Goal: <7.0% Additional Action Suggested: >8.0% <126 MG/DL | IH | 4 ml blood (lavender top tube) | Room temp. 5 days (2-8°) | Cooler | Daily | 77 5 |
| HEMOGLOBIN A2 | 1.7-3.4% | IH | 4 ml blood (lavender top tube) | Room Temp. | Room Temp. | Biweekly | 78 |
| HEMOGLOBIN F | <2.0 | IH | 4 ml amniotic fluid or 5 ml blood (lavender top tube) | Room temp. | Room temp. | Biweekly | 78 |
| HEMOGLOBIN FRACTIONATION | Homozygous A | IH | 4 ml blood (lavender top tube) | Room temp. | Room temp. | Biweekly | 78 |
| HEMOGLOBIN, PLASMA | See Report | SO | 5 ml blood (green top tube). Fasting. Must reach lab within an hour of collection. | Room temp. | Room temp. | Referral | R |
| HEPARIN INDUCED THROMBOCYTOPENIA | Negative | IH | 4 ml blood (blue top tube) | Transport in 4 hours or freeze plasma | Cooler | Daily | 7 |
| HEPATITIS A ANTIBODY - IgM | - These results were obtained with Advia Centaur aHAV IgM assay. Results obtained from other manufacturers' methods may not be used interchangeably. 11/2008 - POSITIVE/REACTIVE results are reported to the County Health Department. - NEGATIVE/NONREACTIVE is normal. - INDETERMINATE result: Retest in 2-4 weeks. - NYSDOH requires all positive results to include an ALT. This test will reflex. No charge. - Biotin levels >500 ng/ml: aHAV IgM Positive results may report as Equivocal. | IH | 7 ml blood (gold, lavender or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 2 days (2-8°) Freeze -20° for longer storage up to 180 days Rejection Criteria Reject gross hemolysis | Cooler | Daily | 57 |
| HEPATITIS A AB (TOTAL) | - These results were obtained with Advia Centaur HAV Total assay. Results obtained from other manufacturers' methods may not be used interchangeably. - NEGATIVE/NONREACTIVE is normal. - Biotin levels >100 ng/ml: NEGATIVE results report as POSITIVE. | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 2 days (2-8°) Freeze -20° for longer storage up to 180 days Rejection Criteria Reject gross hemolysis | Cooler | Daily | 57 |
| HEPATITIS B SURFACE ANTIBODY | - These results were obtained with Advia Centaur Anti-HBs2 Assay. Results obtained from other manufacturers' methods may not be used interchangeably. 11/2008 - NEGATIVE/NONREACTIVE = NON_IMMUNE (<10 mIU/ml) - POSITIVE/REACTIVE = IMMUNE (>/= 10 mIU/ml) | IH | 7 ml blood (gold, lavender or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze -20° for longer storage Rejection Criteria Reject gross hemolysis | Cooler | Daily | 57 |
| HEPATITIS B CORE Ab (TOTAL) WITH REFLEX (TO HEPATITIS B CORE Ab IgM) | - These results were obtained with Advia Centaur HBc Total assay. Results obtained from other manufacturers' methods may not be used interchangeably. - POSITIVE/REACTIVE results will reflex to HBCAB (IgM) and are reported to the County Health Department. - NEGATIVE/NONREACTIVE result is normal. - Biotin levels <1500 ng/ml do not interfere with this assay. | IH | 7 ml blood (gold, lavender or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze -20° for longer storage Rejection Criteria Reject gross hemolysis | Cooler | Daily | 57 |
| HEPATITIS B CORE ANTIBODY (IgM) | - These results were obtained with Advia Centaur ANTI-HBc IgM Assay. Results obtained from other manufacturers' methods may not be used interchangeably. 11/2008 - POSITIVE/REACTIVE results are reported to the County Health Department. - Indeterminate result: Retest in 2-4 weeks. - NEGATIVE/NONREACTIVE result is normal. - NYSDOH requires all positive results to include an ALT. This test will reflex. No charge. - Biotin levels >250 ng/ml: Anti-HBc IgM POSITIVE results may report as NEGATIVE. | IH | 7 ml blood (gold, lavender or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 2 days (2-8°) Freeze -20° for longer storage Rejection Criteria Reject gross hemolysis | Cooler | Mon-Fri | 57 |
| HEPATITIS B DNA/PCR QUANT | See Report | SO | 5 ml blood (2 lavender top tubes) | Refrigerate | Cooler | Referral | R |
| HEPATITIS B SURFACE ANTIGEN WITH REFLEX QUANT | - These results were obtained with Advia Centaur HBsII assay. Results obtained from other manufacturers' methods may not be used interchangeably. 2/2016 - POSITIVE/REACTIVE results will reflex to Hepatitis B Virus DNA, PCR test and are reported to the County Health Department. - Heterophilic antibodies in human serum can react with reagent immunoglobulins, interfering with in vitro immunoassays. Patients routinely exposed to animals or to animal serum products can be prone to this interference and anomalous values may be observed. - NEGATIVE/NONREACTIVE is normal. - If acute or chronic HBV infection is suspected and the HBsAG result is nonreactive, it is recommended that other HBV serological markers be tested to confirm the HBsAG nonreactivity. - NYSDOH requires all positive results to reflex to ALT. There is no charge for this test. Note: For prenatal workups, order test code HBSAP. | IH | 7 ml blood (gold, lavender or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 14 days (2-8°) Freeze -20° for longer storage Rejection Criteria Reject gross hemolysis | Cooler | Mon-Fri | 57 |
| HEPATITIS Be ANTIBODY | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| HEPATITIS Be ANTIGEN | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| HEPATITIS C ANTIBODY With reflex to Quant | - These results were obtained with Advia Centaur HCV assay. Results obtained from other manufacturers' methods may not be used interchangeably. 12/2008 - POSITIVE/REACTIVE reported to the County Health Department. Quantitative HCV RNA by PCR will follow. - LOW POSITIVE/LOW REACTIVITY Confirmation by Quantitative HCV RNA by PCR will follow. - NEGATIVE/NONREACTIVE result is normal. - NYSDOH requires all positive results to include an ALT. This test will reflex. No charge. | IH | 7 ml blood (gold, lavender or red top tube). Need 2 tubes. | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze -20° for longer storage Rejection Criteria Reject gross hemolysis | Cooler | Mon-Fri | 57 |
| HEPATITIS C SCREEN (HCVSC) | One time screening for adults born between 1945 - 1965 |  | SEE ABOVE |  |  |  |  |
| HEPATITIS C RNA PCR (Quantitative) | See Report | SO | 7 ml blood (2 gold top tubes) | Refrigerate | Cooler | Referral | R |
| HEPATITIS DIAGNOSTIC PANEL Includes: Hepatitis B Surface Antigen Hepatitis B Core Antibody (IgM) Hepatitis A Antibody (IgM) Hepatitis C Antibody | Interpretation: See individual tests Note: NYSDOH requires all positive results to include an ALT. (No charge.) (This will reflex.) | IH | 14 ml blood (2 gold/red top tubes) | Refrigerate | Cooler | See individual tests | See individ-ual tests |
| HEP C GENOTYPING | See Report | SO | 2 lavender top tubes | Refrigerate Transport to Lab within 4 hours | Cooler | Referral | R |
| HEREDITARY HEMOCHROMATOSIS | See Report | SO | 2 lavender top tubes | Room temp. | Room temp. | Referral | R |
| HERPES SIMPLEX ANTIBODY, TYPE 1&2 IgG | See Report | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp- -8 hrs Refrig up to 7 days (2-8°) Freeze -20° may be stored up to 2 months Rejection Criteria Reject gross hemolysis OR lipemia | Cooler | M, W, F | 57 |
| HERPES SIMPLEX ANTIBODY, IgM WITH REFLEX TO TITER | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| HERPES SIMPLEX CULTURE | Negative: Virus isolation is optimal when lesions are vesicular. | SO | Specimen must be placed in viral transport media. Enterocervical, genital, eye swab. | Refrigerate | Cooler | Mon-Fri | 6 |
| HERPES SIMPLEX 1 & 2 DNA/PCR | See Report | SO | 5 ml blood (lavender top tube) or 1 ml pericardial fluid, pleural fluid, sputum, urine, eye fluid. | Refrigerate | Cooler | Referral | R |
| HERPES VIRUS 6 Ab | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| HGA BY PCR | See Anaplasma by PCR |  |  |  |  |  |  |
| HGE BY PCR | See Ehrlichia by PCR |  |  |  |  |  |  |
| HGE AB (IGG/IGM) | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| HISTAMINE | See Report | SO | 5 ml blood (lavender top tube) | Refrigerate | Cooler | Referral | R |
| HISTAMINE, URINE | See Report | SO | 24 hour urine: Collect in HCL bottle. Refrigerate during collection. Obtain bottle from Chemistry (525-1495). | Refrigerate | Cooler | Referral | R |
| HISTONE ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| HISTOPLASMA AG | See Report | SO | 10 ml random urine/7 ml blood/1 ml CSF | Refrigerate | Cooler | Referral | R |
| HISTOPLASMA ANTIBODY | See Report | SO | 7 ml blood (red top tube or 1 ml CSF) | Refrigerate | Cooler | Referral | R |
| HIV 1/2 ANTIBODY AND p24 ANTIGEN WITH REFLEX TO HIV-1 + HIV-2 ANTIBODY DIFFERENTIATION IF POSITIVE | Non-Reactive | IH | 7 ml blood (gold or red top tube) Must be dedicated tube – DO NOT OPEN | Refrigerate Storage after separation Room temp 24 hrs Refrig up to 14 days (2-8°) Frozen up to 30 days Rejection Criteria Reject gross hemolysis Wrong tube Specimens stored incorrectly QNS | Cooler | Daily | 57 |
| HIV-1 DNA PCR | See Report | SO | 5 ml blood (lavender top tube) | Room temp. | Room temp. | Referral | R |
| HIV-1 GENOTYPE | See Report | SO | 5 ml blood (lavender top tube) | Refrigerate | Cooler | Referral | R |
| HIV-1 PHENOSENSE | See Report | SO | Two 5 ml blood (lavender top tubes) | Refrigerate | Cooler | Referral | R |
| HIV-1 RNA BDNA | See Report | SO | Two 5 ml blood (lavender top tubes) | Refrigerate | Cooler | Referral | R |
| HIV-1 RNA PCR | See Report | SO | Two 5 ml blood (lavender top tubes) | Refrigerate | Cooler | Referral | R |
| HIV-2 AB | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| HIV - OTHER TESTS | Call Reference Laboratory for requirements, 525-5623. | SO | HIV testing requires its own tube. |  |  |  | R |
| HLA-B27 ANTIGEN | Phenotype reported | SO | 7 ml blood collected in ACD Solution A or B. Tubes may be obtained by calling 525-1472. | Send immediately at room temperature. Do not Refrigerate. | Room temp. | Referral | R |
| HLA-DR TYPING | Phenotype reported | SO | 1 ACDB tube | Refrigerate | Cooler | Referral | R |
| HLA TYPING A & B LOCUS CLASS I | Phenotype reported | SO | 1 ACDB tube | Refrigerate | Cooler | Referral | R |
| HOMOCYSTEINE | <11 UMOL/L | IH | Gold or red top tube must be on ice and received in Chemistry in less than 2 hours. | Place on ice immediately after venipuncture Deliver to lab within 2 hours. Storage after separation DO NOT Leave AT ROOM TEMP Refrig up to7days (2-8°) Freeze (-20°) up to 3months Rejection Criteria Reject gross hemolysis Improper Handling | Cooler | Daily | 66 |
| HTLV-1/11 ANTIBODY | Negative If positive, confirmation testing by Western Blot, available upon request. | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| HU ANTIBODY | See Report | SO | 7 ml blood (red top tube) | Room temp. | Room temp. | Referral | R |
| HUMAN PAPILLOMA VIRUS ANALYSIS Screens for and identifies the presence of HPV types 6, 11, 16, 18, 31 and 35 in cervical smears and biopsies. | See Report | SO | Request specialized collection and transport kits from 525-1476. | Room temp. | Room temp. | Referral | R |
| 17-HYDROXYCORTICO- STEROIDS | Preferred tests cortisol (blood) cortisol free (urine) serum 17 hydroxyprogesterone | SO | 24 hour collection in 10 gm boric acid bottle obtained by calling the lab at 525-1495. | Room temp. | Room temp. | Referral | R |
| 5-HYDROXY-INDOLEACETIC ACID (5H1AA) | See Report | SO | Random Urine: 25 ml minimum. Collect and place immediately on Cooler. (Pediatric specimens only) 24 Hour Urine: Collect in 10 g. boric acid bottle obtained from lab (525-1495). Refrigerate during collection. | Random Urine: Refrigerate. 24 Hour Urine: Refrigerate. Record collection period (hours) on requisition. | Cooler | Referral | R |
| 17-HYDROXY- PROGESTERONE | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| HYPERSENSITIVITY PNEUMONITIS PANEL Includes: Aspergillus Aureobasidium Micropolyspora Pigeon Serum Saccharomonospora Thermoactinomyces | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| IBD SEROLOGY 7 | See Report | SO | 7 ml blood (gold or red top tube). Must have a Prometheus Lab requisition. | Refrigerate | Cooler | Referral | R |
| IgA-IMMUNOGLOBULIN | See Immunoglobulin Reference Ranges.doc | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up 7days (2-8°) Freeze (-20°) up to 3 months Rejection Criteria Reject gross hemolysis Avoid freeze/thaw | Cooler | Daily | 42 |
| IgD-IMMUNOGLOBULIN | See Report | SO | 7 ml blood (red or gold top tube only) | Refrigerate | Cooler | Referral | R |
| IgE-IMMUNOGLOBULIN | IgE Reference Levels in Serum (U/ML) Age IgE <3 months <1.5 3 months – 11 months <15.0 1 – 5 years <60.0 6 – 9 years <90.0 10 – 15 years <200.0 16 – Adult <100.0 | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7days (2-8°) Freeze (-20°) up to 3 months Rejection Criteria Reject gross hemolysis Avoid multiple freeze/thaw cycles | Cooler | Daily | 42 |
| IgF BINDING PROTEIN 1 or 2 or 3 | See Report | SO | 7 ml blood (red top tube only) Overnight fasting preferred. | Refrigerate | Cooler | Referral | R |
| IgG, CSF | See Report | SO | 1 ml CSF | Refrigerate | Cooler | Referral | R |
| IgG-IMMUNOGLOBULIN | See Immunoglobulin Reference Ranges.doc | IH | 5 ml blood (gold or red top tube) | Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) up to 3 months Rejection Criteria Reject gross hemolysis Avoid freeze/thaw | Cooler | Daily | 42 |
| IgG INDEX & SYNTHESIS | See Report | SO | 2 ml CSF and 7 ml gold or red top tube collected at the same time. | Refrigerate | Cooler | Referral | R |
| IgG SUBCLASSES (1,2,3,4) | See Report | REC | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| IgM-IMMUNOGLOBULIN | See Immunoglobulin Reference Ranges.doc | IH | 7 ml blood (gold or red top tube) | Storage after separation Room temp-8 hrs Refrig up to 7days (2-8°) Freeze (-20°) up to 3 months Rejection Criteria Reject gross hemolysis Avoid freeze/thaw | Cooler | Daily | 42 |
| IMIPRAMINE | See Report | SO | 7 ml blood (red top tube). NO SST. | Refrigerate | Ice | Referral | R |
| IMMUNOFIXATION | Negative NOTE: done only if warranted by result of Protein Electrophoresis. | IH | 7 ml clot (gold or red top tube) or 50 ml fresh urine specimen. | Serum Urine: Refrigerate Storage after separation Room temp 4 DAYS Refrig up to 2 WEEKS (2-8°) Freeze (-20°) up to 6 mo Rejection Criteria Reject gross hemolysis | Cooler |  | 18 |
| INDIA INK PREPARATION (Cryptococcus) | Negative | IH | CSF-only in a sterile container. | Refrigerate | Cooler | Daily | 41 |
| INDIRECT ANTIGLOBULIN (INDIRECT COOMBS) | Negative | IH | 6 ml (pink top tube) | Store at room temperature. Refrigerate if held overnight. | Cooler | Daily | 29 |
| INFECTIOUS MONONUCLEOSIS ANTIBODY | Negative | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation room temp-8hrs refrig (2-8°) 8 DAYS frozen (-20°) 8 DAYS Rejection Criteria Hemolyzed | Cooler | Daily | 1 |
| INFLIXIMAB/HACA | See Report | SO | 7 ml blood (gold or red top tube). Must have a Prometheus Lab requisition. | Refrigerate | Cooler | Referral | R |
| INFLUENZA A/B ANTIBODY | See Report | SO | 7 ml blood (red top tube or 1 ml CSF) | Refrigerate | Cooler | Referral | R |
| INFLUENZA A/B ANTIGEN (RAPID) | Negative Test only performed in conjunction with Respiratory Virus Culture. | IH | Nasopharyngeal wash, nasopharyngeal aspirate, nasopharyngeal swab. Submit nasopharyngeal swab in viral transport media. Call Microbiology Lab for supplies. | Refrigerate | Cooler | Daily | 17 |
| INFLUENZA AND PARAINFLUENZA CULTURE | See Viral isolation | SO | Sputum or throat swab in the virus isolation kit. | Refrigerate. History form must accompany specimen for testing to occur. | Cooler | Referral | R |
| INHIBIN A | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| INSULIN | <25 mU/L for fasting adult with normal glucose | IH | 5 ml blood (gold or red top tube) AND 3 ml blood (grey top tube). | Refrigerate Storage after separation Room temp 8 hrs Refrig up 24 hrs (2-8°) Freeze (-20°) longer than 24 hrs Rejection Criteria Reject gross hemolysis | Cooler | Daily | 57 |
| INSULIN AUTOAB | See Report | SO | 7 ml blood (red top tube) | Room temp. | Room temp. | Referral | R |
| INSULIN-LIKE GROWTH FACTOR (IGF-1) | See Report | SO | 1 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| INTRINSIC FACTOR ANTIBODIES | See Report | SO | 7 ml blood (red top tube). Do not collect within 48 hours following B12 injection. | Refrigerate | Cooler | Referral | R |
| IRON (FE) | FEMALE MALE 50 – 170 UG/DL 65 – 175 UG/DL | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) up to 6 months Rejection Criteria Reject hemolysis | Cooler | Daily | 73 |
| IRON AND TOTAL BINDING CAPACITY | Iron: FEMALE MALE 50 – 170 UG/DL 65 – 175 UG/DL Total Binding Capacity: 250-450 UG/DL % Saturation 21-38% | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) up to 6 months Rejection Criteria Reject hemolysis | Cooler | Daily | 73 |
| IRON STAIN | Present | SO | Bone marrow tissue biopsy | Viable tissue in 10% formalin. | Room temp. | Referral | R |
| ISLET CELL Ab | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| JO-1 ANTIBODY | See Report | SO | 7 ml blood (SST tube only) | Refrigerate | Cooler | Referral | R |
| 17 KETOSTEROIDS | See Report | SO | 24 hour urine: collect in 50% Acetic Acid bottle. Refrigerate during collection. Obtain bottle from Chemistry (525-1495). | Refrigerate | Cooler | Referral | R |
| LACTATE DEHYDROGENASE, TOTAL (LD) (LDH) | Female: 81 – 234 IU/L Male: 85 – 227 IU/L | IH | 7 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp-3 days DO NOT REFRIGERATE OR FREEZE Rejection Criteria Reject hemolysis | Cooler | Daily | 21 |
| LACTATE DEHYDROGENASE, FLUID (LD) (LDH) | No normal range | IH | 0.5 ml fluid | Refrigerate | Cooler | Daily | 21 |
| LACTIC ACID (LACTATE) | Venous: 0.4 - 2.0 MMOL/L Arterial: 0.4 – 2.0 MMOL/L | IH | 4 ml blood (dark green top tube). Must be analyzed within 30 minutes. Fasting recommended FOR ARTERIAL, SEE BLOOD GASSES FOR COLLECTION INFORMATION. | Deliver directly to the Chemistry Lab within 30 minutes. This test should not be drawn at the off-sites. | Room temp. | Daily | 21 |
| LACTOSE TOLERANCE | See Lactose Tolerance Test.doc.doc.doc | IH | 4 ml blood (gray top tube). Overnight fast required. | Refrigerate | Cooler | Daily | 43 |
| LACTOTYPE | See Report | SO | 5 ml blood (lavender top tube). Must have a Prometheus Lab requisition. | Refrigerate | Cooler | Referral | R |
| LAMELLAR BODY COUNT | See Report Test for Fetal Lung Maturity | SO | At least 3 ml of amniotic fluid | Refrigerate | Cooler | Referral | R |
| LAMOTRIGINE | See Report | SO | 7 ml blood (red top tube only) | Refrigerate | Cooler | Referral | R |
| LD ISOENZYMES | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| LDL CHOLESTEROL, CALCULATED | OPTIMAL: <100 MG/DL NEAR OPTIMAL TO ABOVE OPTIMAL: 100-129 MG/DL BORDERLINE HIGH: 130-159 MG/DL HIGH: 160-189 MG/DL VERY HIGH: >189 MG/DL | IH | 7 ml blood (gold top tube) | Refrigerate | Cooler | Daily | 5 |
| LDL, DIRECT | See Report | SO | 7 ml blood (gold top tube) | Refrigerate | Cooler | Referral | R |
| LEAD, WHOLE BLOOD SCREEN WITH CONFIRMATION, IF > 5 UG/DL | < 5 UG/DL | IH | Tan top tube Note: For capillary specimens, refer to collection procedures. No air-gaps should be in the capillary tube. | Refrigerate Room temp-3 days Storage in lab Refrig 3 days [72 hrs] of collection (if pretreated) Stable for another 2 days at Room Temperature or three days Refrigerated Rejection Criteria Air gaps present in capillary tube Specimen contains clots EDTA tube less than half full Too old Improper storage | Cooler | M - F | 3 |
| LEGIONELLA CULTURE (Includes DFA) | See Report | SO | Sputum, bronch wash or lung tissue in sterile container. | Refrigerate | Cooler | Referral | R |
| LEGIONELLA ANTIBODY IgM | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| LEGIONELLA ANTIBODY IgG | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| LEGIONELLA ANTIGEN (URINE) | See Report | SO | 5 ml urine | Refrigerate | Cooler | Referral | R |
| LEPTOSPIRA BY PCR | See Anaplasma by PCR |  |  |  |  |  |  |
| LEPTOSPIRA ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| LEVETIRACETAM (KEPPRA) | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| LEVODOPA | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| (LGV) LYMPHOGRANULOMA VENEREUM AB | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| LIDOCAINE | Therapeutic Range: 1.5-5.0 UG/ML | IH | 3 ml blood (red top tube). NO SST. | Refrigerate Storage after separation Room temp-70 days Refrig up to 70days (2-8°) Freeze (-20°) up to 1 year Rejection Criteria Reject gross hemolysis | Cooler | Daily | 65 |
| LIGHT CHAIN PROTEIN (BENCE-JONES PROTEIN) | See Immunofixation | IH | 50 ml urine | Refrigerate | Cooler | 1/week | 18 |
| LIPASE | 73-393 U/L | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-24 HRS Refrig up to 7 days (2-8°) Freeze (-20°) up to 1 YEAR Rejection Criteria Reject gross hemolysis | Cooler | Daily | 8 |
| LIPID PROFILE | Profile includes quantitation of cholesterol, triglyceride, HDL and calculated LDL, VLDL. See individual tests | IH | 5 ml blood (gold or red top tube) Fasting preferred specimen. | Refrigerate | Cooler | Daily. | See Ind Tests |
| LIPID PROFILE BY ELECTROPHORESIS | See Report | SO | 5 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| LIPOPROTEIN A BY ELECTROPHORESIS | See Report | SO | 5 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| LITHIUM | 0.60-1.20 MEQ/L | IH | 3 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-24 hrs Refrig up to 7 days (2-8°) Freeze (-20°) up to 6 mo Rejection Criteria Reject gross hemolysis | Cooler | Daily | 8 |
| LIVER KIDNEY MICROSOMAL Ab | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| LUPUS ANTICOAGULANT | See Report | SO | 5 ml blood (blue top tube). | Refrigerate. Transport to lab within 60 minutes of collection. | Cooler | Referral | R |
| LUTEINIZING HORMONE (LH) | LH Expected Values MIU/ML PUBERTAL ADULT FEMALES, MENSTRUAL CYCLE Follicular Phase 1.9-12.8 Midcycle 22.8-76.1 Luteal Phase 0.6-13.5 POSTMENOPAUSAL FEMALES ON MENOPAUSAL HORMONE Therapy (MHT) 1.1-52.4 Not On MHT 8.6-61.8 MALES 1.2-10.6 NOTE: These results were obtained with Dimension Vista LH assay. Results obtained from other manufacturers' methods may not be used interchangeably. (Revised Aug, 2015) | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 48 hrs (2-8°) Freeze (-20°) longer than 48 hrs | Cooler | M-F | 66 |
| LYME AB TOTAL WITH RFX TO WESTERN BLOT | Negative | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) may be stored up to 2 months Rejection Criteria Reject gross hemolysis, lipemia, icteric Avoid freeze/thaws | Cooler | Mon-Fri | 57 |
| LYME DISEASE (B.SPP) DNA, B | See Report | SO | 1 ml whole blood collected in ACD-A/EDTA | Refrigerate | Cooler | Referral | R |
| LYME DISEASE (BSPP) DNA, SF | See Report | SO | 1 ml CSF or synovial fluid | Refrigerate | Cooler | Referral | R |
| LYME DNA Ab BY PCR | See Report | SO | Tick in 70% alcohol | Refrigerate | Cooler | Referral | R |
| LYSOZYME | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| MAGNESIUM RBC | See Report | SO | 1 EDTA (lavender or dark blue top tube) | Refrigerate | Cooler | Referral | R |
| MAGNESIUM, SERUM | 1.6 – 2.6 MG/DL | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5ml blood. | Refrigerate Storage after separation Room temp-7 days Refrig up to 7 days (2-8°) Freeze (-20°) up to 1 YEAR Rejection Criteria Reject gross hemolysis | Cooler | Daily | 8 |
| MAGNESIUM, URINE | 24-255 MG/24 hours Not applicable for random urine. | IH | 24 hour urine collection with no preservative or random urine. | Refrigerate. Record collection period ) on requisition and bottle (hours Storage after separation Room temp-7 days Refrig up to 7days (2-8°) Freeze (-20°) up to 1 YEAR | Cooler | Daily | 8 |
| MALARIA BY PCR | See Plasmodium by PCR |  |  |  |  |  |  |
| MALARIA SMEAR | Negative. No parasites observed. | IH | 4 ml blood (lavender top tube) | Room temp. | Cooler | Mon-Fri. | 41 |
| MATERNAL SERUM SCREEN 1 (AFP ONLY) | See Report | SO | Quest OB req required. 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| MATERNAL SERUM SCREEN 3 (TRIAD) | See Report | SO | Quest OB req required. 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| MATERNAL SERUM SCREEN 4 (QUAD) | See Report | SO | Quest OB req required. 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| MEASLES ANTIBODY IgG RUBEOLA | Immune | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp- -8 hrs Refrig up to 9 days (2-8°) Freeze (-20°) may be stored up to 2 months Rejection Criteria Reject gross hemolysis or lipemia | Cooler | 3/week | 17 |
| MEASLES ANTIBODY IgM RUBEOLA | See Report | SO | 7 ml blood (red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 2 days (2-8°) Freeze (-20°) may be stored up to 2 months Rejection Criteria Reject gross hemolysis or lipemia | Cooler | Referral | R |
| MERCURY | See Report – no fish 3 days prior | SO | Navy blue EDTA | Refrigerate | Cooler | Referral | R |
| METHADONE | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| METANEPHRINE, FRACTIONATED | See Report No Blockers for 18-24 hours prior. No caffeine, medicines, tobacco or alcohol for 3 days prior. No alpha antagonists for 18-24 hours prior. | SO | Random urine: 25 ml minimum. Collect and place immediately on ice. (Pediatric specimens only). 24 hour urine: Collect in 6 N HCL bottle obtained by calling the lab at 525-1495. Refrigerate during collection. | Random urine: Freeze. 24 hour urine: Refrigerate. Record collection period (hours) on requisition. | Cooler | Referral | R |
| METANEPHRINES, PLASMA | See Report | SO | 5 ml blood (prechilled lavender top tube) Overnight fasting preferred. No acetaminophen – 48 hours prior. No caffeine, medicines, tobacco or alcohol for 4 hours prior. No epinephrine for 7 days prior. | On ice – get to lab within two hours | Cooler | Referral | R |
| METHEMOGLOBIN | <1.0% | IH | 5 ml blood (green top tube) or heparinized syringe. | Refrigerate | Cooler | Daily | 12 |
| METHOTREXATE | 24 Hours Post Infusion 10.00 uMOL/L 48 Hours Post Infusion 1.00 uMOL/L 72 Hours Post Infusion 0.20 uMOL/L | IH | 7 ml blood (red top tube). Indicate time of last dose. Protect from light. | Refrigerate Storage after separation room temp-8hrs refrig (2-8°) 48 hrs frozen (-20°) 3 months Rejection Criteria Not protected from light | Cooler | Daily | 62 |
| METHYMALONIC ACID | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| MICROALBUMIN (URINE ALBUMIN PANEL) | Includes a creatinine MALE: <30 UG/MG creat FEMALE: <30 UG/MG creat Timed: M <30 MG/24 hr F <30 MG/24 hr | IH | 1st or 2nd morning urine 24 hr collection Overnight (8-12 HR COLLECTION) 1-2 HR COLLECTION | Refrigerate Refrig (2-8°) 48 hrs Rejection Criteria Preservative or visible blood. If frozen. | Cooler | Daily | 60 |
| MITOCHONDRIAL ANTIBODY | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| MRSA SCREEN BY PCR | Negative for MRSA Gene Sequences | IH | Nasopharyngeal swab | Refrigerate | Cooler | Daily | 76 |
| MTHFR, DNA MUTATION | See Report | SO | 5 ml blood (lavender top tube) | Room temp. | Room temp. | Referral | R |
| MUMPS ANTIBODY IGM | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| MUMPS ANTIBODY IGG | Immune | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 9 days (2-8°) Freeze (-20°) may be stored up to 2 months Rejection Criteria Reject gross hemolysis lipemia | Cooler | Mon-Fri | 57 |
| MYCOBACTERIA CULTURE & SMEAR (AFB) | No acid fast bacilli observed on direct smear. Direct smears for acid fast bacilli are routinely made on all specimens except CSF and urine. Concentrated smears for acid fast bacilli are made on all specimens. Cultures take up to 8 weeks for results. | IH | Any body site or fluid. Collect in a sterile container. | Refrigerate | Cooler | Smear - Daily. Culture- Mon.-Fri. | 13/41 |
| MYCOLOGY CULTURE | See Fungus culture |  |  |  |  |  |  |
| MYCOPLASMA PNEUMONIAE ANTIBODY, IgG | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| MYCOPLASMA PNEUMONIAE ANTIBODY, IgM | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| MYCOPLASMA PNEUMONIAE CULTURE | See Report | SO | Throat, sputum, lung tissue, lung biopsy specimens in M4 transport media. No wooden swabs. | Refrigerate | Cooler | Referral | R |
| MYCOPLASMA PNEUMONIAE DNA BY PCR | See Report | SO | Sputum, bronch wash, respiratory fluids in M4 transport media. No wooden swabs. | Refrigerate | Cooler | Referral | R |
| MYELIN BASIC PROTEIN | See Report | SO | 1 ml CSF. Submitted in plastic vial (NO GLASS). | Refrigerate | Cooler | Referral | R |
| MYELOPEROXIDASE ANTIBODY (MPO) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| MYOCARDITIS PANEL | See Coxsackie B Virus Antibody | SO |  |  |  |  | R |
| MYOGLOBIN, QUANTITATIVE, URINE | See Report | SO | 10 ml fresh random urine. Needs to be collected in a myoglobin transport tube. Call the lab to obtain. 525-1495 | Refrigerate Mon-Thurs ONLY | Cooler | Referral | R |
| MYOGLOBIN, QUANTITATIVE, BLOOD | See Report | SO | 5 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| NASAL CULTURE – FOR MRSA ONLY | See staph screen for MRSA | IH | Swab | Refrigerate | Cooler | Daily | 13 |
| NEUTROPHILIC CYTOPLASMIC ANTIBODY | See Report See (ANCA) | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| N. GONORRHOEAE DNA, SDA | See Report Male and Female. | SO | 10 ml random urine. Patient must not have urinated 1 hour prior. | Refrigerate | Cooler | Referral | R |
| N. GONORRHOEAE AMPLIFIED DNA | See Report | SO | 20 ml random urine. MALES ONLY! Patient must not have urinated 2 hours prior. | Refrigerate | Cooler | Referral | R |
| NIEMANN-PICK DISEASE MUTATION | See Report | SO | 5 ml blood (lavender top tube) | Room temp. | Room temp. | Referral | R |
| NOCARDIA CULTURE | 14 days required for negative result | IH | Any body site or fluid | Room temp. | Room temp. | Daily | 13 |
| NO CROSSMATCH, HOLD CLOT |  | IH | 6 ml (pink top tube) | Store at room temperature. Refrigerate if held overnight. | Cooler | Daily | --- |
| NOD2/CARD15 | See Report | SO | 5 ml blood (lavender top tube). Must have a Prometheus Lab requisition. | Refrigerate | Cooler | Referral | R |
| NORTRIPTYLINE | See Report | SO | 7 ml blood (red top tube) NO SST. Must be 12 hrs after last dose. | Refrigerate | Cooler | Referral | R |
| N-TELOPEPTIDE (NTX) | See Report | SO | 10 ml random urine. Cannot be first void. | Refrigerate | Cooler | Referral | R |
| NT ProBNP (N-TERMINAL ProBNP) | ACUTE CHF UNLIKELY IF NTBNP IS: <125 PG/ML for age <75 <450 PG/ML for age >/=75 CHF LIKELY IF NTBNP IS: >450 PG/ML FOR AGE <50 >900 PG/ML FOR AGE 50-75 >1800 PG/ML FOR AGE >75 | IH | 7 ml (gold or red top tube) | Specimens need to be separated within 2 hours of collection Storage after separation Stable 3 days (72 hrs) (2-8°) 12 months frozen @ (-20° C) or below Rejection Criteria Reject gross hemolysis Wrong tube Outside of handling requirements | Cooler | Daily | 66 |
| 5' NUCLEOTIDASE | See Report | SO | 7 ml blood (red or gold top tube only) | Refrigerate | Cooler | Referral | R |
| OCCULT BLOOD | Negative | IH | Hemoccult slide or plastic container with small amount of stool specimen. | Store at room temperature. | Room temp. | Daily | 8 |
| OLIGOCLONAL BANDS | See Report | SO | 4 ml CSF AND 5 ml blood (gold or red top tube) collected at same time. | Refrigerate | Cooler | Referral | R |
| ORGANIC ACIDS | See Report | SO | 15 ml random urine | Refrigerate | Cooler | Referral | R |
| OSMOLALITY, SERUM | 280-300 MOS/KG H20 | IH | 2 ml blood (gold or red top tube) | Refrigerate Storage after separation Serum must be separated from cells as soon as possible to avoid hemolysis Room temp-8 hrs Rejection Criteria Reject gross hemolysis | Cooler | Daily | 26 |
| OSMOLALITY, URINE | 250-1200 MOS/KG H20 | IH | 2 ml fresh random urine tightly capped. | Refrigerate Storage after separation Room temp-8 hrs | Cooler | Daily | 26 |
| OVA AND PARASITES | See Parasitology |  |  |  |  |  |  |
| OXALATES, URINE | See Report | SO | 24 hour urine collection in 6 N HCL bottle obtained by calling the lab at 525-1495. | Refrigerate. Record collection period (hours) on requisition. | Cooler | Referral | R |
| OXCARBAZEPINE (TRILEPTAL) | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| OXYCODONE (URINE) WITH CONFIRMATION | Reference Range: Negative A positive result from this assay indicates only the presence of Oxycodone. The test is not intended for quantifying the analysis in patient samples. Buprenorphine may cause a false positive result for this assay. If the patient is taking Buprenorphine, please refer to the results of the confirmation assay. | IH | 25 ml random urine in sterile/plain urine cup Or BD yellow top urine tube NEED 2 FULL TUBES Collect in polypropylene or polyethylene containers, or approved urine cups distributed by the lab or 2 full BD yellow top urine tubes. | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 3 days (2-8°) Freeze (-20°) if testing is delayed more than 3 days Rejection Criteria DO NOT send blue BD urine container with sharp in lid. DO NOT send Tiger top tube. | Cooler | Mon-Fri | 62 |
| PAP SMEAR | Report and interpretation provided | IH | Plastic spatula/cytobrush combo or Wallach Papelle sampling in preservcyt vial | Room temp | Room temp | Mon - Fri |  |
| PARAINFLUENZA TYPES 1-3 ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube) drawn from a fasting patient. | Refrigerate | Cooler | Referral | R |
| PARASITIOLOGY O&P EXAM | No ova or parasites observed normally. Swabs or stools collected after barium enema are unsatisfactory. Cryptosporidium and Giardia antigen performed when no travel history is indicated. Cyclospora requires a special order. | SO | Liquid or soft stool, or pinworm prep slide. Sterile container or O&P collection kit. Swabs and formed stool are unacceptable. Include travel history. | Maintain at room temperature. | Room temp. | Referral | R |
| PARASITOLOGY SCREEN | Negative. Cryptosporidium and Giardia antigen performed when no travel history is indicated. If patient has traveled, see above PARASITOLOGY O&P EXAM. | IH | Liquid or soft stool in sterile container or O&P collection kit. Swabs and formed stool are unacceptable. | Maintain at room temperature. | Room temp. | 3 times per week | 17 |
| PARATHYROID HORMONE, C-TERMINAL | No longer available. PTH INTACT GENERALLY RECOMMENDED |  |  |  |  |  |  |
| PARATHYROID HORMONE, N-TERMINAL | NO LONGER AVAILABLE |  |  |  |  |  |  |
| PARATHYROID HORMONE, INTACT | 18.4-88.0 PG/ML | IH | 7 ml blood (red or gold top tube) | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 48 hrs (2-8°) Rejection Criteria Reject gross hemolysis | Cooler | Daily | 57 |
| PARATHYROID HORMONE, INTRAOPERATIVE | 18.4-88.0 PG/ML | IH | 1 EDTA (lavender top tube) | Transport on ice. INPT test only and by appointment only | NA | Mon-Fri Day shift | 57 |
| PARATHYROID HORMONE RELATED PROTEIN | See Report | SO | 5 ml blood (sodium heparin – green top tube) | Refrigerate | Cooler | Referral | R |
| PARIETAL CELL ANTIBODY | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| PARTIAL THROMBOPLASTIN TIME, ACTIVATED | 22.9-36.7 seconds | IH | 2.7 ml blood (light blue top tube) | Transport to lab within 4 hours of collection. | Cooler | Daily | 44 |
| PARVOVIRUS B19 ANTIBODY | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| PATHOLOGY, ROUTINE | See Report | IH | Entire specimen, 10% formalin | Store at room temperature. | Room temp. | Mon - Fri |  |
| PATHOLOGY, SPECIAL | See Report | IH | Entire specimen. Contact Pathology. | Contact Pathology at 525-1449. | Contact Path. | Varies |  |
| PERITONEAL FLUID CULTURE AND SMEAR | See Body Fluid Culture | IH |  |  |  |  |  |
| PERTUSSIS FA PERTUSSIS CULTURE | See Bordetella Pertussis | SO |  |  |  |  |  |
| PH (FLUID) | No normal range | IH | 0.5 ml fluid | Refrigerate | Cooler | Daily | 36 |
| PH URINE/URINALYSIS | pH: 5.0 – 7.0 | IH | SEE URINALYSIS FOR DETAILS. |  |  |  |  |
| PHENOBARBITAL | Therapeutic: 15-40 UG/ML | IH | 7 ml blood (gold or red top tube). | Refrigerate Storage after separation Room temp-2 days Refrig up to 30 days (2-8°) Freeze (-20°) up to 3 mo Rejection Criteria Reject gross hemolysis | Cooler | Daily | 65 |
| PHENYTOIN (DILANTIN) | Therapeutic: 10-20 UG/ML | IH | 2 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-7 days Refrig up to 7 days (2-8°) Freeze (-20°) up to 1 YEAR Rejection Criteria Reject gross hemolysis | Cooler | Daily | 65 |
| PHENYTOIN, FREE | Therapeutic: 1.0-2.0 UG/ML | IH | 3 ml blood (red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up 24 hrs (2-8°) Freeze (-20°) up to 1 month Prepared sample Store refrig 24 hours Rejection Criteria Reject gross hemolysis & gold top tubes | Cooler | M-F | 62 |
| PHOSPHATIDYL-GLYCEROL (PG) | See Report | SO | 10 ml amniotic fluid | Refrigerate | Cooler | Referral | R |
| PHOSPHATIDYLSERINE AB (IGG, IGM) |  | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| PHOSPHOLIPID AB PANEL | Includes Beta-2 Glycoprotein, Phosphatidylserine Ab, Cardiolipin AB | SO | 7 ml blood (red top tube) – Draw 2 tubes. | Refrigerate | Cooler | Referral | R |
| PHOSPHORUS INORGANIC, SERUM | 2.5-4.9 MG/DL | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) up to 6 mo Rejection Criteria Reject gross hemolysis | Cooler | Daily | 74 |
| PHOSPHORUS INORGANIC, URINE | 0.4-1.3 g/24 hr Not applicable for random urine. | IH | 24 hour urine collection with preservative (or 25 ml 6N HCL). Collect in HCL bottle. Refrigerate during collection. Obtain bottle from Chemistry (525-1465). | Refrigerate Record collection period (hrs) on requisition and bottle | Cooler | Daily | 74 |
| PINWORM IDENTIFICATION | See Report | SO | One pinworm “paddle” consisting of a clear plastic spatula with adhesive on one side OR One paddle or slide with clear tape. | Instructions: Press without smearing onto the folds of the perianal area. Collect specimen first thing in the morning. Clear tape preparation or pinworm paddle is appropriate for submission of specimens for pinworm examination. To facilitate diagnosis, use the pinworm paddle. The instructions for its proper use are as follows: 1. Hold the paddle by the cap and remove it from the tube. 2. Separate the buttocks and press the tacky surface against several areas of the perianal region. 3. Replace the paddle in the tube for transport to the laboratory; specimens should be refrigerated if examination is to be delayed for more than one day. Do not use opaque tape. Stool specimens will not be processed. | Specimens should be refrigerated if examination is to be delayed for more than one day. | Referral | R |
| PLACENTA CULTURE | Normally sterile site. Any organism may be considered a potential pathogen. | IH | 1 cm3 tissue collected sterile fashion. | Room temp. | Room temp. | Daily | 13 |
| PLASMA Hgb | See Report | SO | Fasting 5 ml blood (green top tube) | Room temp. Transport to the laboratory within 4 hours of collection. | Room temp. | Referral | R |
| PLASMINOGEN | See Report | SO | 5 ml blood (blue top tube). | Refrigerate. Transport to lab within 4 hours of collection. | Cooler | Referral | R |
| PLASMODIUM BY PCR | See Anaplasma by PCR |  |  |  |  |  |  |
| PLATELET ANTIBODY, INDIRECT IGG | See Report | SO | 7 ml blood (red or gold top tube) | Room temp. | Cooler | Referral | R |
| PLATELET COUNT | See Hematology Reference Ranges.doc | IH | 4 ml blood (lavender top tube) | Store at room temperature. Transport within 8 hours. | Cooler | Daily | 4 |
| PLATELET FUNCTION ASSAY (PFA-100) | Epinephrine 69-177 ADP 56-112 | IH | 2-2.7 ml blood (2 light blue top tubes) 4.2 ml blood (lavender top tube) | Room temp. Special draw at SPH & SAM draw sites | Room temp. | Daily | 79 |
| PLEURAL FLUID CULTURE AND SMEAR | See Body Fluid Culture | IH |  |  |  |  |  |
| PNEUMOCOCCAL ANTIBODIES | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| POLIO VIRUS ANTIBODIES Types 1, 2, 3 | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| PORPHYRINS (URINE) | See Report | SO | 24 hour urine collection with no preservative (refrigerate during collection). Protect from light. | Protect from light. Refrigerate 24 hour collection. Record collection period (hours) on requisition. | Cooler | Referral | R |
| POTASSIUM, RBC | See Report | SO | 4 ml blood (light green top tube) | Room temp. | Room temp. | Referral | R |
| POTASSIUM, SERUM | 3.5-5.1 MEQ/L | IH | 7 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp- 8 hrs Refrig up to 3 days (2-8°) Rejection Criteria Gross hemolysis | Cooler | Daily | 36A |
| POTASSIUM, URINE | 25-125 MEQ/24 hour (diet dependent) Not applicable for random urine. | IH | 24 hour urine collection with no preservative or fresh random specimen (5 ml minimum). | Refrigerate. Send entire random specimen or 24 hour collection. For 24 hour urine, record collection period (hours) on requisition. | Cooler | Daily | 36A |
| PRE-ALBUMIN | 20-40 MG/DL | IH | 7 ml blood (gold or red top tube) Fasting specimen | Refrigerate Storage after separation Room temp-8 HRS Refrig up to 7 days (2-8°) Freeze (-20°) up to 1 YEAR Rejection Criteria Reject gross hemolysis | Cooler | Daily | 42 |
| PREGNANCY TEST, SERUM | See Beta HCG | IH |  |  |  |  |  |
| PREGNANCY TEST, URINE | See HCG, Qual, Urine | IH |  |  |  |  |  |
| PRIMIDONE (MYSOLINE) (INC. PHENOBARBITAL) | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| ProBNP | See B Natriuretic Peptide, NT ProBNP | IH |  |  |  |  |  |
| PROCAINAMIDE | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| PROCAINAMIDE -N ACETYL | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| PROGESTERONE | Progesterone Expected Values NG/ML PUBERTAL ADULT FEMALES, MENSTRUAL CYCLE Follicular Phase 0.2-1.7 Luteal Phase 2.3-24.2 Midluteal Phase 8.8-21.6 POSTMENOPAUSAL FEMALES <0.2-0.9 PREGNANT FEMALES First Trimester 11.4-41.0 Second Trimester 13.8-156 Third Trimester 51.4->200 MALES <0.2-2.0 These results were obtained with Dimension Vista Progesterone assay. Results obtained from other manufacturers' methods may not be used interchangeably. Due to the effect of DHEA-S with our methodology, please order Progesterone by LC/MS on those patients receiving DHEA supplements as part of their therapy. (Revised April 2017) Falsely increased Progesterone results may occur on samples from patients taking Biotin. | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 48 hrs (2-8°) Freeze (-20°) longer than 48 hrs Rejection Criteria Reject gross hemolysis | Cooler | M-F | 66 |
| PROGESTIN RECEPTOR ASSAY | Negative: 3 FMOL/MG cytosol protein Indeterminate: 3-20 FMOL/MG cytosol protein Positive: 20 FMOL/MG cytosol protein | SO | 250-300 MG specimen/assay. Tumor tissue trimmed of fat, blood and necrotic tissue. Immediately freeze at -70. | Freeze immediately at -70. | Dry ice | Referral | R |
| PROINSULIN | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| PROLACTIN | Prolactin Expected Values NG/ML FEMALES Nonpregnant 2.2-30.3 Pregnant 8.1-347.6 Postmenopausal 0.7-31.5 MALES 2.5-17.4 These results were obtained with Dimension Vista Prolactin assay. Results obtained from other manufacturers' methods may not be used Interchangeably. (Revised Aug, 2015) | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 48 hrs (2-8°) freeze (-20°) longer than 48 hrs Rejection Criteria Reject gross hemolysis | Cooler | M-F | 66 |
| PROSTATE SPECIFIC ANTIGEN, TOTAL (PSA) (FOR MONITORING) | Males Age: 40-49 0-2.5 NG/ML Reference Range is age-specific. 50-59 0-3.5 MG/ML Results cannot be interpreted as 60-69 0-4.5 NG/ML absolute evidence of the presence 70-79 0-6.5 NG/ML or absence of malignancy. In men with PSA values above 10 NG/ML, prostate cancer risk is determined by Total PSA alone; FPSA and %FPSA will not be reported. The diagnostic usefulness of %FPSA has not been established in patients with total PSA below 2.6 NG/ML. These results were obtained with VISTA Total PSA or Free PSA method via a homogeneous, sandwich chemiluminescent immunoassay based on LOCI technology. Results obtained from other manufacturers' methods may not be used interchangeably. | IH | 7 ml blood (gold or red top tube only) | Refrigerate Refrig up to 8 hrs (2-8°) Freeze (-20°) after 8 hr, up to 4 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| PROSTATE SPECIFIC ANTIGEN, SCREEN (PSASC) | Males Age: 40-49 0-2.5 NG/ML Reference Range is age-specific. 50-59 0-3.5 MG/ML Results cannot be interpreted as 60-69 0-4.5 NG/ML absolute evidence of the presence 70-79 0-6.5 NG/ML or absence of malignancy. In men with PSA values above 10 NG/ML, prostate cancer risk is determined by Total PSA alone; FPSA and %FPSA will not be reported. The diagnostic usefulness of %FPSA has not been established in patients with total PSA below 2.6 NG/ML. These results were obtained with VISTA Total PSA or Free PSA method via a homogeneous, sandwich chemiluminescent immunoassay based on LOCI technology. Results obtained from other manufacturers' methods may not be used interchangeably. | IH | 7 ml blood (gold or red top tube only) | Refrigerate Refrig up to 8 hrs (2-8°) Freeze (-20°) after 8 hr, up to 4 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| PROSTATE SPECIFIC ANTIGEN; FREE (FPSA) (Free, Total, %Free) | > 20% Low Risk <,/= 20% Elevated Risk | IH | 7 ml blood (gold or red top tube only) | Refrigerate Storage after separation Refrig up to 8 hrs (2-8°) Freeze (-20°) after 8 hr, up to 4 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| PROTEINASE 3 ANTIBODY (PR-3 AB) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| PROTEIN, C | 72 – 122% Patient cannot be on Coumadin, Warfarin or Coumarin. Heparin is acceptable. | IH | 2.7 ml blood (light blue top tube). Perform prior to Coumarinization. | Transport to lab within 4 hours of collection. | Cooler | Referral | R |
| PROTEIN, CSF | 15-45 MG/DL | IH | 1 cc spinal fluid | Refrigerate Refrig up to 3 days (2-8°) | Cooler | Daily | 78 |
| PROTEIN ELECTROPHORESIS, SERUM | Total protein: 6.4-8.2 GM/DL Albumin: 3.5-5.0 GM/DL Alpha 1 Globulin: 0.1-0.5 GM/DL Alpha 2 Globulin: 0.3-0.8 GM/DL Beta Globulin: 0.5-1.2 GM/DL Gamma Globulin: 0.6-1.6 GM/DL (Immunofixation will be performed as a reflex test if needed) | IH | Serum: 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 4 DAYS Refrig up to 2 WEEKS (2-8°) Freeze (-20°) up to 6 mo Rejection Criteria Reject gross hemolysis | Cooler | When volume sufficient | 18 |
| PROTEIN ELECTROPHORESIS, 24 HOUR URINE RANDOM URINE | See Report | IH | 24 hour urine with no preservative. Refrigerate during collection. Urine: 25-50 ml random urine in sterile/plain urine cup Or BD yellow top urine tube NEED 2 FULL TUBES | Refrigerate: Record collection period (hours) on requisition. Storage Refrig up to 3 days (2-8°) Freeze (-20°) up to 1 mo Rejection Criteria DO NOT send blue BD urine container with sharp in lid. DO NOT send Tiger top tube. | Cooler | Mon, Wed, Fri | 18 |
| PROTEIN, FLUID | No normal range | IH | 0.5 ml fluid | Refrigerate | Cooler | Daily | 77 |
| PROTEIN, S | FEMALE: 60 – 149% MALE: 78 – 166% Patient cannot be on Coumadin, Warfarin or Coumarin. Heparin is acceptable. | IH | 2.7 ml blood (light blue top tube). Perform prior to Coumarinization. | Transport to lab within 4 hours of collection. | Cooler | Daily | 7 |
| PROTEIN, TOTAL, SERUM | 6.4-8.2 GM/DL | IH | 7 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 3 days (2-8°) Freeze (-20°) up to 6 mo Rejection Criteria Reject gross hemolysis | Cooler | Daily | 77 |
| PROTEIN, URINE | <149.1 MG/24 hours | IH | 24 hour urine collection with no preservative is the preferred choice or random urine. | Refrigerate. Record collection period (hours) on requisition and bottle Storage after separation Refrig up to 3 days (2-8°) | Cooler | Daily | 78 |
| PROTHROMBIN GENE MUTATION | See Report | SO | 5 ml blood (lavender top tube) | Room temp. | Room temp. | Referral | R |
| PROTHROMBIN TIME, WITH INR | 10.3 – 12.7 seconds | IH | 2.7 ml blood (light blue top tube). | Transport to lab within 4 hours of collection. | Cooler | Daily | 44 |
| PSA FREE | See Prostatic Specific Antigen; Free |  |  |  |  |  |  |
| PURKINJE CELL (YO) | See Report | SO | 7 ml blood (red or gold top tube) Overnight fasting preferred. | Room temp. | Room temp. | Referral | R |
| PYRUVIC ACID | See Report | SO | 1 lavender top tube. Mix well. Put on ICE. | Keep on ICE. Transport ASAP. | On ICE | Referral | R |
| Q FEVER BY PCR | See Coxsiella by PCR |  |  |  |  |  |  |
| QUANTIFERON-TB GOLD PLUS | See Report | SO | Special kit with special instructions: Call lab at 525-5623. This test can be collected at any site Mon-Thurs. On Friday, it has to be collected at SPH draw station. | Room Temp. | Refrigerate | Referral | R |
| QUANTITATIVE TISSUE CULTURE | See Report | SO | 1 cm3 tissue collected in sterile fashion. Testing indicated for debridement/superficial tissues. | Refrigerate. Keep moist with sterile saline. | Cooler | Referral | R |
| QUINIDINE | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Daily | 25 |
| Q-FEVER (C. Burnetii) ANTIBODIES (IGG/IGM) | See Report | SO | 7 ml blood (red top tube) Acute and convalescent samples recommended. | Refrigerate | Cooler | Referral | R |
| RA - FLUID | See Report | SO | 1 ml synovial fluid or CSF | Refrigerate | Cooler | Referral | R |
| RAPAMYCIN (SIROLIMUS) | See Report | SO | 5 ml blood (lavender top tube) | Refrigerate | Cooler | Referral | R |
| RAPID GROUP A STREP ANTIGEN | See Strep Antigen – Group A (Rapid) |  |  |  |  |  |  |
| RAPID INFLUENZA A/B ANTIGEN | See Influenza A/B Antigen (Rapid) |  |  |  |  |  |  |
| RENIN | See Report | SO | 1 EDTA tube (lavender top tube) | Room temp. | Room temp. | Referral | R |
| RESPIRATORY SYNCYTIAL VIRUS ANTIBODY IGG | See Report | SO | 7 ml (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| RESPIRATORY SYNCTIAL VIRUS, ANTIGEN | Negative | IH | 2-3 ml nasopharyngeal wash or aspirate or NP swab in viral transport media. Testing performed daily at noon. | Refrigerate | Cooler | Daily | 19 |
| RESPIRATORY VIRUS CULTURE | See Report Includes Adenovirus, Influenza A/B, Parainfluenza (1, 2, 3) and RSV. | SO | Nasopharyngeal wash or aspirate, nasopharyngeal swab or throat in viral transport media (m4). | Refrigerate | Cooler | Referral | R |
| RETICULIN Ab | See Report IGA w/Reflex AND IGG w/Reflex (room temp) | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| RETICULOCYTE COUNT | 0.5-1.5% Includes absolute - .02-.08 million + Immature Retic Fraction – 0.2-0.4% | IH | 4 ml blood (lavender top tube). | Store at room temperature. Transport within 8 hours. | Cooler | Daily | 4 |
| RHEUMATOID FACTOR | <15 IU/ML | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 HRS Refrig up to 7days (2-8°) Freeze (-20°) up to 3 mo Rejection Criteria Reject gross hemolysis | Cooler | Daily | 42 |
| RHIG SCREEN | See Report | IH | 6 ml (pink top tube) | Refrigerate | Cooler | Daily | 29 |
| RICKETTSIA IGG/IGM | See Report – Reported as Rocky Mt. Spotted Fever | SO | 7 ml blood (red or gold top tube) | Room temp. | Room temp. | Referral | R |
| RISTOCETIN COFACTOR ASSAY | See Report | SO | 5 ml blood (blue tope tube). | Refrigerate. Transport to lab within 4 hours of collection. | Cooler | Referral | R |
| ROCHALIMAEA HENSELAE | See Bartonella Henselae | SO |  |  |  |  | R |
| ROM PLUS (+) RUPTURE MEMBRANES TEST (ROMPP) | - Elevated fetal serum, urine, cord blood and amniotic fluid as well as maternal serum levels of AFP have been reported in the literature in various developmental disorders such as neural-tube defects, hypothyroidism, autoimmune states, congenital heart defects, cystic fibrosis, etc. ROMPP (Rupture of Membrane Test) has not been evaluated for potential interference in these conditions. - The test may report positive results in patients with intact membranes and therefore decisions to induce labor should not be based solely on the ROMPP (Rupture of Membrane Test) test result. | IH | Obtain collection kit from lab by calling 518-525-1495. The specimen is amniotic fluid taken by vaginal swab, which is placed into the designated vial with buffer solution. | Send to lab ASAP. Delays of longer than 6 hours will result in the test being cancelled. Rejection Criteria Significant amounts of blood Improper collection Delay in reaching the lab >6 hours | Cooler | Daily | 32A |
| ROTAVIRUS, STOOL | See Report | SO | 1-2cc liquid stool. Swabs are not acceptable. | Refrigerate | Cooler | Referral | R |
| RPR WITH REFLEX TITER AND TREPONEMAPOLIDUM PARTICLE AGGLUTINATION | Non-reactive. (Only performed on Labor & Delivery Friday + weekends) | IH IH | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Daily | 1 |
| RPR CSF | See Report VDRL CSF | SO | 1 ml CSF | Refrigerate | Cooler | Referral | R |
| RSV | See Respiratory Synctial Virus |  |  |  |  |  |  |
| RUBELLA ANTIBODY (German Measles) IgG | Immune | IH | 5 ml blood (gold or red top tube) | Refrigerate | Cooler | Daily | 57 |
| RUBELLA ANTIBODY (German Measles) IgM | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) longer than 7 days Rejection Criteria Reject gross hemolysis | Cooler | Referral | R |
| RUBEOLA (MEASLES) ANTIBODY IgG | Immune | IH | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Mon-Fri | 57 |
| RUBEOLA (MEASLES) ANTIBODY IgM | Immune | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| SACCHAROMYCES CEREVISIAE IGG/IGA | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| SALICYLATE | Therapeutic Range: 5-25.0 MG/DL | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 7 days Refrig up to 14 days (2-8°) Freeze (-20°) up to 6 mo Rejection Criteria Reject gross hemolysis | Cooler | Daily | 8 |
| SCABIES DETECTION | See Report | SO | Dry skin scrapings from linear burrows (typically on wrists or spaces between fingers). Place in a screw cap tube or container. | Room temp. | Room temp. | Referral | R |
| SCL - 70 ANTIBODY (Scleroderma Antibody) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| SEDIMENTATION RATE | AGE FEMALE MALE RANGE RANGE <50 0-20 0-15 >50 0-30 0-20 | IH | 4 ml (lavender top tube) | Store at room temperature. | Room temp. | Daily | 80 |
| SELENIUM - SERUM | See Report | SO | Royal blue plain | Refrigerate Must be spun within 1 hr of collection. Immediately separate serum or plasma from cells. | Cooler | Referral | R |
| SEMEN ANALYSIS Complete | Volume > 2.0 ML Viscosity Normal 3+ & 4+ motile >60% Number >20 million/ML Normal Sperm >60% pH 7.2-7.8 | IH | Sterile container. See “Instructions for Semen Analysis” on DocuShare (Lab Resource Manual) under “Specimen Collection” “Semen Specimen Collection and Delivery”. | Body temp. | Body temp. | Mon – Fri 8am – 1pm | 41 |
| SEMEN ANALYSIS Post Vasectomy | 0 / HPF | IH | Sterile container. See “Instructions for Semen Analysis” on DocuShare (Lab Resource Manual) under “Specimen Collection” “Semen Specimen Collection and Delivery”. | Room temp. | Room temp. | Mon – Fri 8am – 1pm | 41 |
| SEROTONIN | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| SEROTONIN RELEASE ASSAY | See Report | SO | 7 ml blood (red top tube) Needs prior approval. | Immediately Refrigerate | Cooler | Referral | R |
| SERUM VISCOSITY | See Report | SO | 10 ml blood (2 red top tubes) | Room temp. | Room temp. | Referral | R |
| SEX HORMONE BINDING GLOB. | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| SICKLE CELL SCREEN | Negative | IH | 4 ml blood (lavender top tube) | Store at room temperature | Cooler | Daily | 48 |
| SIROLIMUS (RAPAMYCIN) | See Report | SO | 5 ml blood (lavender top tube) | Refrigerate | Cooler | Referral | R |
| SJOGRENS ANTIBODIES (RO/LA) (SSA/SSB) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| SKELETAL MUSCLE, ANTIBODIES (STRIATED MUSCLE ANTIBODY) | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| SMOOTH MUSCLE ANTIBODY | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| SM/RNP ANTIBODIES | See ENA (SM/RNP) Antibodies | IH |  |  |  |  |  |
| SODIUM, SERUM | 136-145 MEQ/L | IH | 7 ml blood (gold or red top tube) Pediatrics: 0.5ml blood. | Refrigerate Storage after separation Room temp- 8 hrs Refrig up to 3 days (2-8°) Rejection Criteria Reject gross hemolysis | Cooler | Daily | 36A |
| SODIUM, URINE | 40-220 MEQ/24 HOURS Not applicable for random urine. | IH | 24 hour urine collection with no preservative or fresh random specimen (5ml minimum). | Refrigerate. Send entire random specimen or 24 hour collection. For 24 hour urine, record collection period (hours) on requisition. | Cooler | Daily | 36A |
| SOLUBLE LIVER AG IGG AB | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| SOLUBLE TRANSFERRIN RECEPTORS | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| SOMATOMEDIN C | See Insulin-like growth factor | IH |  |  |  |  |  |
| SPECIFIC GRAVITY | 1.005-1.030 | CC | 7 ML URINE | Refrigerate Rejection criteria Specimen older than 2 days |  |  |  |
| SPINAL FLUID CELL COUNT WITH WBC DIFFERENTIAL | WBC: 0 - 5 mm3 RBC: 0 - 10 mm3 | IH | 1 ml spinal fluid. No preservative. Sterile numbered tube. | Room temp. Transport to lab as soon as possible. | Room temp. | Daily | 41 |
| SPINAL FLUID - IgG (CSF) | See Report | SO | 1 ml spinal fluid | Refrigerate | Cooler | Referral | R |
| SPUTUM CULTURE & SMEAR | Oropharyngeal flora reported if no pathogen(s) isolated. | IH | Bronch tube or sterile capped container. | Refrigerate | Cooler | Daily | 13/41 |
| SPUTUM, CYTOLOGY | Report and interpretation provided | IH | Fresh and unfixed | Send immediately | Cooler | Mon - Fri |  |
| STAPH SCREEN FOR MRSA BY PRC | Negative for MRSA Gene Sequences. | IH | Obtain collection kit from Micro at ext. 6749. | Refrigerate | Cooler | Daily | 76 |
| STONE RISK PROFILE (URORISK) | See Report | SO | Special collection container and form please call the lab 525-5623. | Refrigerate | Cooler | Referral | R |
| STOOL CULTURE AND SHIGA TOXIN BY EDA | Stool Culture Identifies: Salmonella, Shigella, Campylobacter species and E. coli 0157. All other identifications require special request including: Yersinia, Vibrio, etc. Shiga Toxin: Negative for Shiga Toxin 1 and/or Shiga Toxin 2. | IH | Collect stool in sterile container or in enteric culture kit. Rectal swabs accepted for infants only. Formed stools are unacceptable | Refrigerate | Cooler | Daily | 13 |
| STOOL FOR WBC | See Fecal Leukocytes (Lactoferrin) |  |  |  |  |  |  |
| STRIATED MUSCLE ANTIBODY | See Skeletal Muscle Antibody | IH |  |  |  |  |  |
| STREP ANTIGEN – GROUP A (RAPID) | Negative | IH | Throat collected on dual swab system. Negative test reflexes to culture. | Refrigerate | Cooler | Daily | 17 |
| STREP SCREEN, GROUP A | Negative | IH | Throat swab | Refrigerate | Cooler | Daily | 13 |
| STREP SCREEN, GROUP B | Negative | IH | Single vaginal/rectal swab | Refrigerate | Cooler | Daily | 13 |
| STREPTOLYSIN O TITER (ASO) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| STREPTOZYME – WILL BE REPORTED AS STREPTOCOCCAL EXOENZYME | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| SUBOXONE | See Buprenorphine |  |  |  |  |  |  |
| SULFONYLUREA HYPOGLYCEMICS | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| SYNOVIAL FLUID CELL COUNT WITH DIFFERENTIAL | Body fluids (other than CSF) have no normal range. | IH | 4 ml synovial fluid (lavender top tube) | Room temp. | Room temp. | Daily | 41 |
| SYNOVIAL FLUID CRYSTAL ANALYSIS | None | IH | 1 ml synovial fluid | Refrigerate | Cooler | Mon-Fri. | 41 |
| SYNOVIAL FLUID CULTURE AND SMEAR | See Body Fluid Culture | IH |  |  |  |  |  |
| SYPHILIS | See T. pallidum Antibody w/Rfx RPR | IH |  |  |  |  |  |
| TACROLIMUS (FK506) | 5.0 – 20.0 NG/ML | IH | 5 ml blood (lavender top tube) | Refrigerate Storage after separation Room temp-8hrs Refrig (2-8°) 7 days frozen (-20°) 6 months | Refrigerate | M-F | 70 |
| TAY SACHS | Specify whether male or female - pregnant or non-pregnant oral contraceptives being used, diabetic, family history of Tay-Sachs. | SO | Must call lab @ 525-5623 for collection requirements. Need genetic requisition. | Transport immediately to lab. | Cooler | Referral Monday-Thursday mornings ONLY. No Holidays | R |
| T3, FREE | 2.2-4.0 PG/ML | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 hrs Refrig up 48 hrs (2-8°) Freeze (-20°) -after 48 hrs Rejection Criteria Reject gross hemolysis | Cooler | Mon-Fri | 57 |
| T3, REVERSE | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| T4, FREE, DIR. DIALYSIS | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| T4, TOTAL | FEMALE: 4.8 - 13.9 UG/DL MALE: 4.5 - 12.1 UG/DL | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 7 days Refrig up to 7 days (2-8°) Freeze (-20°) up to 1 mo Avoid freeze/thaws Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| T4/T8 LYMPHOCYTE RATIO | See Report | SO | 5 ml blood (lavender top tube) 5 ml blood (green heparin tube) | Room temp. Must be received in lab by 1500. | Room temp. | Referral | R |
| TEICHOIC ACID ANTIBODY | See Report | SO | 7 ml blood (red or gold top tube only) | Refrigerate | Cooler | Referral | R |
| TESTOSTERONE, FREE | See Report | SO | 7 ml blood (red top tube) | Immediately Refrigerate | Cooler | Referral | R |
| TESTOSTERONE, FREE, BIOAVAILABLE, TOTAL | See Report | SO | 7 ml blood (red top tube) | Immediately Refrigerate | Cooler | Referral | R |
| TESTOSTERONE, FREE AND TOTAL | See Report | SO | 7 ml blood (red top tube) | Immediately Refrigerate | Cooler | Referral | R |
| TESTOSTERONE, TOTAL | TOTAL TESTOSTERONE Expected Values (NG/DL) ADULT MALES ADULT FEMALES Ages 21-49 123.06 – 813.86 Premenopause 50-89 86.98 – 780.10 Ages 21-60 9.01 – 47.94 Postmenopause Ages 45-89 <7.00 – 45.62 NOTE: These results were obtained with Siemens Centaur XPT Testosterone II assay. Results obtained from other manufacturers' methods may not be used interchangeably. ***Updated Reference Ranges 12/2017*** Falsely increased Total Testosterone results may occur on samples from patients taking Biotin. | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) may be stored up to 2 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 57 |
| TETANUS ANTIBODY | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| THC, URINE, QUANT | See Report | SO | 25 ml random urine | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) if testing is delayed more than 7 days) | Cooler | Referral | R |
| THEOPHYLLINE | Therapeutic: 10-20 UG/ML | IH | 3 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp7 1 days Refrig up 14 days (2-8°) Freeze (-20°) up to 6 mo Rejection Criteria Reject gross hemolysis | Cooler | Daily | 65 |
| THIOCYANATE | See Report | SO | 3 ml blood (red top tube) | Room temp. | Room temp. | Referral | R |
| THIOPURINE METABOLITES | See Report | SO | 5 ml blood (lavender top tube). Must have a Prometheus Lab requisition. | Refrigerate | Cooler | Referral | R |
| THROAT CULTURE | Oropharyngeal flora reported if no pathogen(s) isolated. | IH | Swab | Refrigerate | Cooler | Daily | 13 |
| THROMBIN TIME | See Report | SO | 5 ml blood (blue top tube). | Refrigerate. Transport to lab within 4 hours of collection. | Cooler | Referral | R |
| THYROGLOBULIN | <55 NG/ML | IH | 3 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 3 days (2-8°) Freeze (-20°) may be stored up to 2 months Rejection Criteria Reject gross hemolysis | Cooler | Tue, Th | 57 |
| THYROID ANTIBODY (ATG) | < 60 IU/ML | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 hrs Refrig up 48 hrs (2-8°) Freeze (-20°) longer than 48 hrs Rejection Criteria Reject gross hemolysis | Refrigerate | M-F | 57 |
| THYROID MICROSOMAL PEROXIDASE AB (ATPO) | < 60.0 IU/ML | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 hrs Refrig up to 48 hrs (2-8°) Freeze (-20°) longer than 48 hrs Rejection Criteria Reject gross hemolysis | Cooler | M-F | 57 |
| THYROID STIMULATING HORMONE (TSH) HIGH SENSITIVE ASSAY | 0.45-4.12 UIU/ML TSH Reference Ranges for Pregnant Women PREGNANCY STAGES REFERENCE RANGES First Trimester 0.45 – 2.50 mIU/L Second Trimester 0.45 – 3.00 mIU/L Third Trimester 0.45 – 3.50 mIU/L | IH | 5 ml blood (gold or red top tube) | Refrigerate | Cooler | Daily | 66 |
| THYROID STIMULATING HORMONE (REFLEX) | Standard TSH assay performed if result outside of normal range then FT4 will be automatically performed followed by Free T3, if needed. | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 HRS Refrig up to 7 days (2-8°) Freeze (-20°) up to 1 mo Avoid freeze/thaws Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| THYROID STIMULATING IMMUNOGLOBULIN | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| THYROXINE, FREE (Free T4) | 0.76-1.46 NG/DL | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Refrig up to 14 days (2-8°) Freeze (-20°) up to 3 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| THYROXINE, T4 TOTAL | Female: 4.8-13.9 UG/DL Male: 4.5-12.1 UG/DL | IH | 5 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp 8 HRS Refrig up to 7 days (2-8°) Freeze (-20°) up to 1 mo Avoid freeze/thaws Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| THYROXINE BINDING GLOBULIN | See Report | SO | 5 ml blood (red top tube) | Room temp. | Room Temp. | Referral | R |
| TICK ID | See Report | SO | Tick in 70% alcohol | Room temp. | Room temp. | Referral | R |
| TISSUE BIOPSY CULTURE & SMEAR | Normally sterile site. Any organism isolated may be considered a potential pathogen. | IH | Visible tissue in a sterile capped container | Refrigerate | Cooler | Daily | 13/41 |
| TOBRAMYCIN LEVEL | See Report Tobra peak: obtain 60-90 min after dose has finished infusing Trough: obtain 5-30 min before dose | SO | 2 ml blood (red top tube) Indicate bottle start and stop times. NO SST. | Refrigerate | Cooler | Referral | R |
| TOPIRAMATE | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| TORCH PANEL, IGG Panel includes: TOXO IgG Antibody Rubella IgG CMV IgG Herpes Simplex 1 & 2 IgG | See Report | SO | 14 ml blood (2 golds or 2 red top tubes) | Refrigerate | Cooler | Referral | R |
| TORCH PANEL, IGM Panel includes: Herpes Simplex 1 & 2 IgM TOXO IgM Rubella IgM CMV IgM | See Report | SO | 14 ml blood (2 golds or 2 red top tubes) | Refrigerate | Cooler | Referral | R |
| TOXOPLASMA IGG | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| TOXOPLASMA IGM | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| T. Pallidum Ab w/Rfx RPR | Non Reactive | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) may be stored up to 2 months Rejection Criteria Reject gross hemolysis & lipemia | Cooler | Daily | 22 |
| TPMT ENZYME | See Report | SO | 5 ml blood (lavender top tube). Must have a Prometheus Lab requisition. | Refrigerate | Cooler | Referral | R |
| TPMT GENETICS | See Report | SO | 5 ml blood (lavender top tube). Must have a Prometheus Lab requisition. | Refrigerate | Cooler | Referral | R |
| TRACHEAL ASPIRATE CULTURE & SMEAR | See Sputum Culture for interpretation | IH | >1ml fluid. Send in sterile trach container. | Refrigerate | Cooler | Daily | 13/41 |
| TRANSFERRIN | See Report | SO | 7 ml blood (gold or red top tube) Fasting for 12 hours required. | Refrigerate | Cooler | Referral | R |
| TRANSFERRIN SATURATION | Order Iron & Iron Binding Capacity | IH | 5 ml blood (gold or red top tube) | Refrigerate | Cooler | Daily | 61 |
| TRANSGLUTAMINASE IGA | See Report | IH | 5 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| TRAZODONE | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| TRIAD (Alpha Feto Protein Prenatal Screen) Pregnant females only Panel includes: AFP, HCG, Estriol | See Maternal Serum Screen 1 | SO | 7 ml blood (gold or red top tube) History form required. | Refrigerate | Cooler | Referral | R |
| TRIGLYCERIDE | National Cholesterol Education Program Adult Treatment Panel III 150 MG/DL Category MG/DL Normal <150 Borderline high 150-199 High 200-499 Very high >500 | IH | 2ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. Fasting required. | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 7 days (2-8°) Freeze (-20°) 2 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 21 |
| TRICHOMONAS | See Vaginitis Panel, DNA Probe |  |  |  |  |  |  |
| TRICHOMONAS, URINE | Not observed | IH | 12 ml fresh random urine in BD yellow top urine tube or plain urine cup. Deliver to lab ASAP. | Transport: Room Temp ASAP Rejection Criteria Too old >4 hours room temp specimen Specimen was refrigerated | Room Temp. | Daily | 44 |
| TRICYCLIC SCREEN Includes: Amitriptyline, Doxepin, Nortriptyline, Desipramine, Imipramine. | Negative | IH | 7 ml (gold or red top tube) | Refrigerate Storage after separation Room temp-2 hrs Refrig (2-8°) 48 hrs frozen (-20°) if testing is delayed past 48 hrs Rejection Criteria Reject gross hemolysis , lipemia and icteric | Cooler | Daily | 62 |
| TROPONIN I | Normal (99th percentile) 0.00 – 0.045 NG/ML | IH | AMH & SAM: 7 ml (gold or red top tube) 4 ml (light green top tube) SPH: 5 ml (orange top tube) | Refrigerate Storage after separation Room temp-8hrs Refrig (2-8°) 2 days frozen (-20°) 8 weeks Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| TRYPTASE | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| F. TULARENSIS, AB | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| TYPE AND CROSSMATCH | See Report Arrangements must be made in advance when requesting blood products for outpatient transfusion. Please call 525-8435, 525-8430 or Information Associate at 525-1976 for an appointment. | IH | 6 ml (pink top tube) | Store at room temperature. Refrigerate if held overnight. | Cooler | Daily | 29 |
| TYPE AND SCREEN | See Report | IH | 6 ml (pink top tube) | Store at room temperature. Refrigerate if held overnight. | Cooler | Daily | 29 |
| TZANCK SMEARS | Report and interpretation provided | IH | Direct smears fixed in 95% alcohol | Room temp | Room temp | Mon - Fri |  |
| UREA NITROGEN, SERUM (BUN) | 7-18 MG/DL | IH | 2 ml blood (gold or red top tube) Pediatrics: 0.5 ml blood. | Refrigerate Storage after separation Room temp-3-5 days Refrig (2-8°) 7 days frozen (-20°) indefinitely Rejection Criteria Reject gross hemolysis | Cooler | Daily | 75 |
| UREA NITROGEN, URINE | 12-20 GM/24 hour (diet dependent) Not applicable for random urine. | IH | 24 hour urine collection with no preservative or random urine. | Refrigerate. Record collection period (hours) on requisition and bottle. | Cooler | Daily | 75 |
| UREAPLASMA (T-MYCOPLASMA) | Negative for Ureaplasma Urealyticum. Also screened for other Mycoplasma species. | IH | Urine - 30 ml or Urethral, vaginal swab, placenta in M4 media. | Refrigerate | Cooler | Mon-Fri | 13 |
| URETHRAL CULTURE MALE/FEMALE SPECIMEN | Normal flora | IH | Swab. | Room temp. | Room temp. | Daily | 13 |
| URIC ACID, SERUM | 3.0-7.0 MG/DL—MALES 2.6 -6.0 MG/DL--FEMALES | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig (2-8°) 3-5days frozen (-20°) 6 months Rejection Criteria Reject gross hemolysis | Cooler | Daily | 61 |
| URIC ACID, URINE | 200-750 MG/24 hour Not applicable for random urine. | IH | 24 hour urine collection with 10 ml of 5% NAOH preservative, or random urine. | Refrigerate. Record collection period (hours) on requisition and bottle. Alkaline urine stable 3-5 days | Cooler | Daily | 61 |
| URINALYSIS WITH MICROSCOPIC | Specific Gravity (1.005-1.030) pH: 5.0-7.0 All other components - Negative dipstick Reflex to microscopic when any or all of the following criteria are met: blood – greater than trace or protein present or nitrite positive or leukocytes positive | IH | 12 ml fresh random urine in BD Tiger top urine tube. NEED FULL TUBE. Or BD yellow top urine tube, or plain urine cup Deliver to lab within 2 hours or refrigerate. | Refrigerate. Transport within 24 hours. Rejection Criteria Too old: >72 hrs Tiger top tube; >48 hrs refrig; >8 hrs no refrig. | Cooler | Daily | 14/41 |
| URINALYSIS WITH REFLEX TO URINE CULTURE | See Urine Culture with Urinalysis |  |  |  |  |  |  |
| URINE AND BLADDER WASHINGS | Report and interpretation provided | IH | Fresh and unfixed. First morning specimens unacceptable | Send immediately | Cooler | Mon - Fri |  |
| URINE CULTURE | Colony count of 10,000-100,000/ml identified with sensitivity with a diagnosis of a UTI. Colony counts of 100,000/ml identified with a sensitivity if appropriate. | IH | >1 ml urine. Clean catch in sterile container. Vacutainer collection system preferred. | Refrigerate | Cooler | Daily | 13 |
| URINE CULTURE WITH URINALYSIS | Specific Gravity (1.005-1.030) pH: 5.0-7.0 All other components - Negative dipstick Reflex to microscopic when any or all of the following criteria are met: blood – greater than trace or protein present or nitrite positive or leukocytes positive Reflex to Urine Culture when nitrites positive and/or WBC >9. Colony count of 10,000-100,000/ml identified with sensitivity with a diagnosis of a UTI. Colony counts of 100,000/ml identified with a sensitivity if appropriate. | IH | 12 ml fresh random urine in BD Tiger top urine tube. NEED FULL TUBE. Or BD yellow top urine tube, or plain urine cup Deliver to lab within 2 hours or refrigerate. MUST ALSO HAVE GRAY TOP URINE CULTURE TUBE OR FOR SHORT SAMPLES, A URINE CUP WILL BE ACCEPTED. | Refrigerate. Transport within 24 hours. Rejection Criteria Too old: >72 hrs Tiger top tube; >48 hrs refrig; >8 hrs no refrig. COMPLETE ORDER WILL BE CANCELED IF A GRAY TOP IS NOT RECEIVED UNLESS A CUP WAS SENT. >48 HOURS FOR GRAY TOP TUBE >48 HOURS FOR CUP | Cooler | Daily | 14/41 |
| VAGINITIS PANEL BY DNA PROBE | Negative | IH | Vaginal specimen. Obtain collection kit from Micro ext. 6749. | Room temp. | Room temp. | Daily | 16 |
| VALPROIC ACID (DEPAKANE) | Therapeutic: 50-100 UG/ML | IH | 3 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp-2 hrs Refrig (2-8°) 8 hrs frozen (-20°) 2 months | Cooler | Daily | 65 |
| VANCOMYCIN LEVEL | Trough: 10 – 20 MCG/ML Random: None Vanco peak: No longer available Trough concentrations should be obtained just before the next dose at steady-state conditions which usually occurs after the 4th dose. | IH | 5 ml blood (red top tube). NO SST. | Refrigerate Storage after separation Serum should be separated from cells within 2 hrs room temp-8 hrs Rejection Criteria Reject gross hemolysis | Cooler | Daily | 65 |
| VANILMANDELIC ACID (VMA) | See Report | SO | 24 Hour Urine: Collect in 6 N HCL bottle obtained by contacting lab at 525-1495. Refrigerate during collection. | 24 Hour Urine: Refrigerate. Record collection period (hours) on requisition. | Cooler | Referral | R |
| VAP TM CHOLESTEROL | See Report No alcohol for 24 hours prior | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| VARICELLA CULTURE | See Viral isolation | SO | Fluid aspirated from fresh vesicle – placed in viral isolation transport kit obtained on supply order form. | Refrigerate | Cooler | Referral | R |
| VARICELLA ZOSTER ANTIBODY IGG (Chicken Pox) | Immune | IH | 7 ml blood (gold or red top tube) | Refrigerate Storage after separation Room temp--8 hrs Refrig up to 2 days (2-8°) Freeze (-20°) may be stored up to 2 months Rejection Criteria Reject gross hemolysis and lipemia | Cooler | Mon-Fri | 57 |
| VARICELLA ZOSTER ANTIBODY IGM (Chicken Pox) | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| VARICELLA ZOSTER DNA, PCR | See Report | SO | 5 ml blood (lavender top tube) OR 1 ml CSF | Refrigerate | Cooler | Referral | R |
| VDRL SYPHILIS, CSF | See Report | SO | 1 ml CSF (red top tube) | Refrigerate | Cooler | Referral | R |
| VDRL SYPHILIS, SERUM | See RPR |  |  |  |  |  |  |
| VIP | See Report | SO | 5 ml EDTA | Refrigerate | Cooler | Referral | R |
| VIRAL ISOLATION (VIRAL CULTURE) Specify:1. Cytomegalovirus 2. Varicella zoster virus 3. Respiratory viruses: RSV, Influenza, Parainfluenza, Adenovirus. 4. Gastrointestinal viruses - Enteroviruses, Adenovirus | See Report | SO | Obtain viral isolation kit by ordering on supply order form. NO WOODEN SWABS. | Refrigerate | Cooler | Referral | R |
| VISCERAL LARVAL MIGRANS | See Toxocara Antibody | SO |  |  |  |  |  |
| VITAMIN A, RETINOL | See Report | SO | 5 ml blood (gold or red top tube) Protect from light. Fasting 12 hours preferred. | Refrigerate Separate serum from cells ASAP after clotting. | Cooler | Weekly | R |
| VITAMIN B1 (THIAMINE) | See Report | SO | 1 Full EDTA lavender top tube - protect from light Fasting specimen recommended. | Protect from light, send to lab ASAP, freeze immediately | Cooler | Referral | R |
| VITAMIN B6 | See Report | SO | 5 ml blood (EDTA tube) – protect from light Overnight fasting; no vitamins and no alcohol. | Refrigerate/Protect from light | Cooler | Referral | R |
| VITAMIN B12, CYANOCOBALAMIN | 193-986 PG/ML NOTE: These results were obtained with DIMENSION VISTA B12 Assay. Results obtained from other manufacturers' methods may not be used interchangeable. Falsely increased B12 results may occur on samples from patients taking Biotin. | IH | 3 ml blood (gold or red top tube) EDTA plasma-lavender tube | Refrigerate Storage after separation Room temp-24 hrs Refrig (2-8°) 48 hrs Rejection Criteria Reject gross hemolysis | Cooler | Daily | 66 |
| VITAMIN C | See Report | SO | 7 ml blood (red top tube) – protect from light | Refrigerate/Protect from light | Cooler | Referral | R |
| VITAMIN D, 1, 25 DIHYDROXY | See Report | SO | 7 ml blood (red top tube) | Refrigerate immediately. | Cooler | Referral | R |
| VITAMIN D, 25 HYDROXY, TOTAL | Deficient: <10 NG/ML Insufficient: 10-29.9 NG/ML Sufficient: 30-100 NG/ML Toxicity: >100 NG/ML | IH | 7 ml blood (red or gold top tube) | Refrigerate Storage after separation Room temp-8 hrs Refrig up to 5 days (2-8°) Freeze (-20°) may be stored up to 2 months Rejection Criteria Reject gross hemolysis & lipemia Avoid freeze/thaws | Cooler | M, W, F | 57 |
| VITAMIN E, TOCOPHEROL | See Report | SO | 5 ml blood (red top tube) Protect from light. Overnight fasting preferred. | Refrigerate | Cooler | Referral | R |
| VITAMIN K1 | See Report | SO | 3 ml blood (green top tube) – protect from light | Refrigerate/Protect from light | Cooler | Referral | R |
| VLDL, CALCULATED | <30 MG/DL | IH | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | 5 |
| VOLTAGE GATED CALCIUM CHANNEL | See Report | SO | 7 ml blood (red or gold top tube) | Refrigerate | Cooler | Referral | R |
| VWF ACTIVITY | 61-160 | IH | 2.7 ml blood (light blue top tube) | Room temp. Transport to lab in 4 hrs. | Cooler | Weekly | 44 |
| VWF AG | 56-161 | IH | 2.7 ml blood (light blue top tube) | Room temp. Transport to lab in 4 hrs. | Cooler | Weekly | 44 |
| WASHINGS, CYTOLOGY | Report and interpretation provided | IH | Fresh and unfixed | Send immediately | Cooler | Mon - Fri |  |
| WEST NILE VIRUS AB | See Report | SO | 7 ml blood (gold or red top tube) | Refrigerate | Cooler | Referral | R |
| WOUND CULTURE | Pathogens will be identified according to specimen source | IH | Drainage, aspirate or deep swab of area. Specify source on swab. Swab collection is strongly discouraged. | Refrigerate | Cooler | Daily | 13 |
| XYLOSE, SERUM | See Report | SO | 4 ml blood (grey top tube) Note whether fasting, 1hr, 2hr, etc. | Refrigerate | Cooler | Referral | R |
| XYLOSE, URINE | See Report | SO | 5 hour urine collection with no preservative. 5 ml of urine. | Refrigerate | Cooler | Referral | R |
| YO ANTIBODY (Purkinge Cell Antibody) | See Report | SO | 7 ml blood (red top tube) | Room temp. | Room temp. | Referral | R |
| ZINC | See Report | SO | 1 royal blue EDTA | Refrigerate Separate plasma or serum from cells within 2 hours. | Cooler | Referral | R |
| ZONISAMIDE (ZONEGRAN) | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |
| ZYPREXA (OLANZAPINE) | See Report | SO | 7 ml blood (red top tube) | Refrigerate | Cooler | Referral | R |

# TEST METHODOLOGY CODING

The following key should be referenced to identify the current test methodology information for the services listed in the “Test List” section of our Resource Manual (above).  For those tests performed on-site, the code indicated in the Method Code column corresponds with the code listed below. For those tests referred to other laboratories, methodology information has not been provided and an “R” is indicated in the Method Code column.

| CODE | METHODOLOGY |
| --- | --- |
| 1 | AGGLUTINATION |
| 2 | ALKALI DENATURATION |
| 3 | ASV-ANODIC STRIPPING VOLTAMMETRY |
| 4 | AUTOMATED CELL COUNTER |
| 5 | CALCULATION |
| 6 | CELL CULTURE |
| 7 | CHROMOGENIC SUBSTRATE |
| 8 | COLORIMETRIC |
| 9 | CLOT DETECTION |
| 10 | COLUMN CHROMATOGRAPHY |
| 11 | CONDUCTIVITY |
| 12 | CO-OXIMETRY |
| 13 | CULTURE |
| 14 | DIPSTICK |
| 15 | DIRECT FLUORESCENT ANTIBODY |
| 16 | DNA HYBRIDIZATION |
| 17 | EIA-ENZYME IMMUNOASSAY |
| 18 | ELECTROPHORESIS |
| 19 | ELFA-ENZYME LINKED IMMUNOADSORBENT ASSAY |
| 20 | ELISA-ENZYME LINKED IMMUNOADSORBENT ASSAY |
| 21 | ENZYMATIC |
| 22 | ENZYME IMMUNOASSAY |
| 23 | EXTRACTION PROCEDURE |
| 24 | FLOW CYTOMETRY |
| 25 | FPIA-FLUORESCENCE POLARIZATION IMMUNOASSAY |
| 26 | FREEZING POINT DEPRESSION |
| 27 | GENETIC PROBE |
| 28 | GUIAC |
| 29 | HEMAGGLUTINATION |
| 30 | HEMOLYSIS |
| 31 | IFA-INDIRECT FLUORESCENT ANTIBODY |
| 32 | IMMUNOASSAY |
| 32A | CHROMATOGRAPHIC IMMUNOASSAY |
| 33 | IMMUNOELECTROPHORESIS |
| 34 | IMMUNOINACTIVATION CHOLESTERASE |
| 35 | IMMUNOPRECIPITATION |
| 36 | ISE-ION SELECTIVE ELECTRODE |
| 36A | INDIRECT ION SELECTIVE ELECTRODE (DILUTED) |
| 37 | KINETIC |
| 38 | LATEX AGGLUTINATION |
| 39 | MEIA-MICROPARTICLE ENZYME IMMUNOASSAY |
| 40 | MIC-MINIMAL INHIBITORY CONCENTRATION |
| 41 | MICROSCOPY |
| 42 | NEPHELOMETRY |
| 43 | 02 DEPLETION, OXYGEN RATE |
| 44 | PHOTO-OPTICAL CLOT DETECTION |
| 45 | POTENTIOMETRIC |
| 46 | PRECIPITATION METHOD |
| 47 | SHELL VIAL ASSAY |
| 48 | SOLUBILITY |
| 49 | SPECTROPHOTOMETRY |
| 50 | STAIN |
| 51 | SURGICUTT |
| 53 | ULTRAVIOLET KINETIC |
| 54 | VISCOSIMETRY |
| 55 | WATERBATH |
| 56 | WESTERGREN |
| 57 | CHEMILUMINESCENT IMMUNOASSAY |
| 58 | CENTRIFUGATION |
| 59 | FLUORESCENCE IMMUNOASSAY |
| 60 | TURBIDMETRIC INHIBITION IMMUNOASSAY (TINIA) |
| 61 | TIMED END POINT |
| 62 | HOMOGENOUS ENZYME IMMUNOASSAY |
| 63 | SOLID PHASE IMMUNOCHROMATOGRAPHIC ASSAY |
| 64 | TRANSCRIPTION MEDIATED AMPLIFICATION |
| 65 | PARTICLE ENHANCED TURBIDOMETRIC INHIBITION IMMUNOASSAY (PETINA) |
| 66 | LOCI – SANDWICH CHEMILUMINSCENT IMUNOASSAY |
| 67 | ACCELERATOR SELECTIVE DETERGENT |
| 68 | KINETIC JAFFE REACTION |
| 69 | MAGNETIC PARTICLE IMMUNOASSAY |
| 70 | EMIT ENZYME IMMUNOASSAY |
| 71 | HEXOKINASE |
| 72 | ANTIBODY CAPTURE MICROPARTICLE CHEMILUMINOMETRIC IMMUNOASSAY |
| 73 | FERENE |
| 74 | PHOSPHOMOLYBDATE – UV |
| 75 | UREASE |
| 76 | PCR |
| 77 | ION-EXCHANGED |
| 78 | HIGH PRESSURE LIQUID CHROMOTOGRAPHY |
| 79 | PLATELET FUNCTION ANALYZER |
| 80 | RED CELL AGGREGATION |